# Microbiology Collection Containers

| SPECIMEN/TEST | COLLECTION CONTAINERS | TIME LIMITS FOR LAB DELIVERY | COLLECTION CONTAINER PICTURES |
| --- | --- | --- | --- |
| Blood Cultures Please include 1 aerobic and 1 anaerobic bottle in each set drawn. | Blood Culture bottles: Adult / children over 12 yrs. old: 1 set = 1 Aerobic + 1 Anaerobic. Optimum draw: 2 sets from 2 different sites, 10 ml in each bottle. At least 1 set drawn peripherally. Pediatric Patients and/or Difficult Draws: 1 Pediatric bottle (1 to 4 ml) or 1 Aerobic bottle (>5 to 10 ml). DO NOT OVERFILL BOTTLES | Lab prefers: <= 24 hrs. Can be accepted at Ambient incubation up to 5 days |  |
| AFB Culture Note: swabs are not acceptable for AFB (TB) Culture | Tissue, fluid or (3ml minimum) respiratory secretions in sterile container Aspirate with safety syringe tip cap | <= 1 hrs. Ambient <= 24 hours refrigerated | 3. |
| AFB Blood Culture | SPS AFB Blood Culture Tube– AFB Blood cultures are sent out and must be transported to reference lab within 72 hrs. of collection | <= 72 hrs. |  |
| Routine Aerobic, Anaerobic, Fungus, and GC Cultures. | - Tissue, fluid or respiratory secretions in sterile container - Aspirate with safety syringe tip cap | Sterile container or Aspirate in syringe: <= 2 hrs. Ambient <=24 hrs refrigerated | 2. . 1. 3. . |
|  | - ESwab Collection & Transport System with white cap & flocked swab & Amies liquid | ESwab: <= 24 hrs. Ambient |  |
| Urine Culture | - Fresh urine in sterile cup | <= 1 hr. Ambient <= 24 hrs. Refrigerated | 1. 2. . |
|  | - Grey top – BD Vacutainer Urine tube | <= 48 hrs. Ambient |  |
| MRSA Culture | E-Swab (BBL Amies gel swab is acceptable but not preferred.) | <= 24 hrs. Ambient |  |
| MRSA PCR (nose source only) | COPAN Sterile Transport Swab (red cap and red label, double-scored swabs with liquid Stuart’s medium in sponge). (DO NOT BREAK OFF SWAB AT THE SCORED AREA.) | <= 24 hrs. Ambient <= 5 days Refrigerated |  |
| Vaginosis Panel, BD Affirm | BD Affirm Ambient Temperature Transport Medium | <= 72 hrs. Ambient or Refrigerated |  |
| Gonorrhea/ Chlamydia/ Trichomonas Amplification | - GEN-PROBE APTIMA UNISEX SWAB (white cap with foil top) genital samples - Urine in Aptima collection tube (First 15-30 mLs voided urine – 2 mLs minimum) - Hologic Aptima Vaginal Self-Collect Swab | 1. < 30 Days Ambient or Refrigerated | 1. 4. . 3. . 2. |
|  | - Urine in a sterile cup (First 15-30 mLs voided urine – 2 mLs minimum) | <= 24 hrs. Refrigerated |  |
| Herpes Simplex Virus (HSV) Varicella zoster virus (VZV) | Swabs collected from cutaneous or mucocutaneous lesions placed in viral transport medium (UTM or M4RT) | <= 2 days Ambient <= 7 days Refrigerated |  |
| Pertussis PCR | nasopharyngeal (NP) swab in viral transport medium (UTM or M4RT) | <= 2 days Ambient <= 4 days Refrigerated |  |
| Respiratory PCR panel | nasopharyngeal (NP) swab only in virus stabilization tube or viral transport medium (UTM or M4RT) | <= 4 hrs. Ambient <= 3 days Refrigerated |  |
| Flu RSV COVID PCR (FLUVID) | nasopharyngeal (NP) swab or nasal swab in virus stabilization tube or viral transport medium (UTM or M4RT) | <= 8 hrs. Ambient <= 7 days Refrigerated |  |
| SARS CoV-2 |  |  |  |

# Microbiology Collection Containers

| SPECIMEN/TEST | COLLECTION CONTAINERS | TIME LIMITS FOR LAB DELIVERY | COLLECTION CONTAINER PICTURES |
| --- | --- | --- | --- |
| Strep Pharyngitis Screen Culture, Strep Culture non-respiratory (pediatric genital/perianal- group A) | ESwab Collection & Transport System or BBL Culture Swab Collection & Transport System | <=72 hrs. Ambient or Refrigerated |  |
| Group A Strep PCR | Throat swab using ESwab™ 480CFA or ESwab™ 480C collection device | <= 48 hrs. Ambient <= 6 days Refrigerated |  |
| Group B Strep PCR (perinatal strep) | ESwab Collection & Transport System with white cap & flocked Swab & Amies liquid (BBL Amies gel swab is acceptable but not preferred.) | ESwab: <= 24 hrs. Ambient <= 5 days Refrigerated |  |
| Pinworm Prep | Pinworm Collector with white cap vial & sticky paddle Include patient collection instructions with each vial. | <= 72 hrs. Ambient |  |
| Parasite Worm Exam | - Isolate worm and place into a sterile cup with a small amount of water. | Return to Laboratory within 8 hours Ambient or Refrigerated | 2 . 1. |
|  | - Place worm in a pink cap vial (formalin). Remove scoop from cap and discard | Specimen is viable Ambient or Refrigerated for 2 months or until vial expiration date, whichever comes first. |  |
| Fecal Occult Blood (Diagnostic or 3 card series) | Fresh stool applied to test card immediately after collection Stool must be applied to card within 30 minutes. Follow instructions provided with cards. | <=30 minutes fresh stool Card - 14 days Ambient |  |
| GI PCR with Supplemental Culture Stool Culture includes: Salmonella, Shigella, Campylobacter, E. coli 0157, and ShigaToxins. Indicate any other organisms in comments. | Orange cap Cardinal C&S vial Sterile containers can be used for collection if the specimen can be brought to a lab and transferred in less than 2 hours | <= 24 hrs. Ambient; <= 48 hrs. Refrigerated | Within 2 hrs of collection, add only enough stool to bring liquid to red line. |
| Ova & Parasites | Pink cap (Formalin) AND Grey cap (Zinc PVA) Para-Pak transport vials. Transfer to vials within 30 minutes. | Specimen is viable Ambient or Refrigerated for 2 months or until vial expiration date, whichever comes first. | Within 30 min of collection, add only enough stool to bring liquid to red line. |
| Giardia/ Cryptosporidium Antigen | - Pink cap (formalin) OR | 1. Pink cap (formalin) specimen is viable Ambient for 2 months or until the vial’s expiration, whichever comes first. | 2. . Within 30 min of collection, add only enough stool to bring liquid to red line. |
|  | Orange cap Cardinal C&S vial | Orange Cap (Cary Blair) <= 2 weeks Refrigerated |  |
| WBC Stool | Orange cap Cardinal C&S vial | <= 24 hrs. Ambient; <= 48 hrs. Refrigerated | Within 60 min of collection, add only enough stool to bring liquid to red line. |
| Stool for C. diff PCR, | Fresh stool in sterile cup | Refrigerate within 2 hrs. <= 4 days Refrigerated or Frozen *Transport on ice* |  |
| Norovirus PCR | Fresh stool in sterile cup | <=48 hrs. Refrigerated *Transport on ice* |  |
| Rotavirus Antigen | Fresh stool in sterile cup | <= 72 hrs. Refrigerated *Transport on ice* |  |

08/13/2021