| TEST METHOD | ANALYTE | UNITS | DEMOGRAPHIC | SOURCE | REFERENCE RANGE | Source |
| --- | --- | --- | --- | --- | --- | --- |
| Freestyle | Ketone | mg/dL |  | Whole Blood | < 0.05-0.27 | Fisher, BHB Applicaton Sheet, Cobas c501/c502/c503 |
| Nova StatStrip StatStrip Xpress GEM ABL iSTAT | Glucose | mg/dL | 0 day up to 2 days | Whole Blood | 41-60 | UKcore lab Wu, Alan., Tietz Clinical Guide to Laboratory Tests, 4th edition, Elsevier Saunders, St. Louis, 2006. p. 836 Tietz |
|  |  |  | 2 days up to 1 year | Whole Blood | 50-80 |  |
|  |  |  | 1 year up to 17 years | Whole Blood | 60-99 |  |
|  |  |  | ≥ 17 years | Whole Blood | 74-99 |  |
| GEM ABL iSTAT | pH | pH | 0 day up to 1 day | Arterial | 7.26-7.49 | Wu, Alan., Tietz Clinical Guide to Laboratory Tests, 4th edition, Elsevier Saunders, St. Louis, 2006. p. 834 Tietz |
|  |  |  | 1 day up to 2 days |  | 7.29-7.45 |  |
|  |  |  | 2 days up to 60 years |  | 7.35-7.45 | Wu, Alan., Tietz Clinical Guide to Laboratory Tests, 4th edition, Elsevier Saunders, St. Louis, 2006. p. 836 Tietz Alberta neonatal reference range 1/2019 |
|  |  |  | 60 years up to 90 years |  | 7.31-7.42 |  |
|  |  |  | ≥ 90 years |  | 7.26-7.43 |  |
|  |  |  | ≥ 0 day | Venous Mixed Venous | 7.32-7.43 |  |
|  |  |  | 0 day up to 28 days | Capillary | 7.32-7.42 |  |
|  |  |  | >28 days |  | 7.35-7.45 |  |
|  | pCO2 | mmHg | 0 day up to 4 days | Arterial | 27-40 | Wu, Alan., Tietz Clinical Guide to Laboratory Tests, 4th edition, Elsevier Saunders, St. Louis, 2006. p. 836 Tietz Alberta neonatal reference range 1/2019 |
|  |  |  | 4 days up to 24 months |  | 27-41 |  |
|  |  |  | ≥ 24 months; Male |  | 32-45 |  |
|  |  |  | ≥ 24 months; Female |  | 35-48 |  |
|  |  |  | 0 day up to 4 days | Venous | 33-47 |  |
|  |  |  | 4 days up to 24 months |  | 33-48 |  |
|  |  |  | ≥ 24 months; Male |  | 40-55 |  |
|  |  |  | ≥ 24 months; Female |  | 37-52 |  |
|  |  |  |  | Capillary | 35-45 |  |
|  | pO2 | mmHg | 0 day up to 1 day | Arterial | > 50-85 | Wu, Alan., Tietz Clinical Guide to Laboratory Tests, 4th edition, Elsevier Saunders, St. Louis, 2006. p. 796 Tietz |
|  |  |  | 1 day up to 2 days |  | 54-95 |  |
|  |  |  | 2 days up to 60 years |  | 83-108 |  |
|  |  |  | 60 years up to 70 years |  | > 80 |  |
|  |  |  | 70 years up to 80 years |  | > 70 |  |
|  |  |  | ≥ 80 years |  | > 60 |  |
|  |  |  | ≥ 0 days | Venous | 25-40 |  |
|  |  |  | >28 days | Capillary | 80-100 |  |
|  | Ionized Calcium | mg/dL | 0 day up to 1 day | Whole Blood | 4.3-5.1 |  |
|  |  |  | 1 day up to 7 days |  | 4.0-4.7 |  |
|  |  |  | 7 days up to 90 years |  | 4.6-5.1 |  |
|  |  |  | ≥ 90 years |  | 4.5-5.3 |  |
|  | Lactate | mmol/L |  | Arterial Capillary | 0.5-1.6 |  |
|  |  |  |  | Venous | 0.5-2.2 |  |
| GEM iSTAT ABL | Sodium | mmol/L | 0 day up to 8 days | Whole Blood | 133-146 | UK Core lab Wong, Edward, Brugnara, Carlo, Straseski, Joel, Kellogg, Mark, Adeli, Khosrow. Pediatric Reference Intervals. 8th edition Wong ISE indirect Na-K-Cl |
|  |  |  | 8 days up to 18 years |  | 133-144 |  |
|  |  |  | ≥ 18 years |  | 136-145 |  |
|  | Potassium | mmol/L | 0 day up to 1 year | Whole Blood | 3.7-6.1 | ISE indirect Na-K-Cl |
|  |  |  | ≥ 1 year |  | 3.6-4.9 |  |
|  | Chloride | mmol/L | 0 day up to 8 days | Whole Blood | 96-111 | Values established at the UKMC: Internal Data Review , March 2019. Reference interval is based on the parametric central 95thpercentile. ISE indirect Na-K-Cl |
|  |  |  | 8 days up to 7 months |  | 96-110 |  |
|  |  |  | 7 months up to 1 year |  | 96-108 |  |
|  |  |  | ≥ 1 year |  | 97-107 |  |
| GEM Sysmex ABL | tHB | g/dL | 0 day up to 15 days | Whole Blood | 13.4-20 |  |
|  |  |  | 15 days up to 31 days |  | 10-15.3 |  |
|  |  |  | 31 days up to 61 days |  | 8.9-12.7 |  |
|  |  |  | 61 days up to 180 days |  | 9.6-12.4 |  |
|  |  |  | 180 days up to 2 years |  | 10.1-12.7 |  |
|  |  |  | 2 years up to 6 years |  | 10.2-12.7 |  |
|  |  |  | 6 years up to 12 years |  | 10.6-13.4 |  |
|  |  |  | 12 years up to 17 years |  | 10.8-14.5 |  |
|  |  |  | > 17 years; Male |  | 13.7-17.5 |  |
|  |  |  | > 17 years; Female |  | 11.2-15.7 |  |
| iStat Sysmex | Hct | % | 0 day up to 15 days | Whole Blood | 40-57 |  |
|  |  |  | 15 days up to 31 days |  | 30-45 |  |
|  |  |  | 31 days up to 61 days |  | 27-38 |  |
|  |  |  | 61 days up to 6 months |  | 29-37 |  |
|  |  |  | 6 months up to 6 years |  | 31-38 |  |
|  |  |  | 6 years up to 12 years |  | 32-40 |  |
|  |  |  | 12 years up to 17 years |  | 33-44 |  |
|  |  |  | > 17 years; Male |  | 40-51 |  |
|  |  |  | > 17 years; Female |  | 34-45 |  |
| GEM ABL | Bicarbonate, calculated | mmol/L | 0 day up to 14 days | Arterial Venous | 17-24 | Wu, Alan., Tietz Clinical Guide to Laboratory Tests, 4th edition, Elsevier Saunders, St. Louis, 2006. p. 166 Tietz Mayo Clinic: HCO3 Information |
|  |  |  | 8 days up to 7 months |  | 96-110 |  |
|  |  |  | 7 months up to 1 year |  | 96-108 |  |
|  |  |  | ≥ 1 year |  | 97-107 |  |
|  |  |  | 0 day up to 28 days | Capillary | 20-27 |  |
|  |  |  | 28 days up to 2 months |  | 19-24 |  |
|  |  |  | 2 months up to 2 years |  | 16-24 |  |
|  | Base Excess/Deficit | mmol/L | 0 day up to 4 days | Whole Blood | (-10)- (-2) |  |
|  |  |  | 4 days- 24 months |  | (-7)- (-1) |  |
|  |  |  | 24 months up to 12 years |  | (-4)- (+2) |  |
|  |  |  | ≥ 12 years |  | (-2)- (+3) |  |
|  |  |  | 0 day up to 28 days | Capillary | (-6) - 1 |  |
|  |  |  | 28 days up to 24 months |  | (-7) - (-1) |  |
|  |  |  | 24 months up to 12 years |  | (-4)- (+2) |  |
| ABL | % Oxygen Saturation | % | 0 day up to 4 days | Arterial | 40-90% |  |
|  |  |  | ≥ 4 days |  | 94-98% |  |
|  |  |  | 0 day up to 4 days | Venous | 40-85% |  |
|  |  |  | ≥ 4 days |  | 65-80% |  |
|  | Oxyhemoglobin | % | < 3 months |  | No established range* |  |
|  |  |  | > 3 months | Arterial | 94-97% |  |
|  |  |  | > 3 months | Venous | 40-70% |  |
| iStat | BUN | mg/dL | 0 day up to 8 years | Whole Blood | 3-13 | Wong, Edward, Brugnara, Carlo, Straseski, Joel, Kellogg, Mark, Adeli, Khosrow. Pediatric Reference Intervals. 8th edition Wong |
|  |  |  | 8 years up to 14 years |  | 5-17 |  |
|  |  |  | 14 years up to 60 years |  | 7-21 |  |
|  |  |  | 60 years up to 90 years |  | 8-23 |  |
|  |  |  | ≥ 90 years |  | 10-31 |  |
|  | Creatinine | mg/dL | 0 day up to 15 days | Whole Blood | 0.4-1.0 | CREP2 Information Caliper |
|  |  |  | 15 days up to 2 years |  | 0.2-0.4 |  |
|  |  |  | 2 years up to 5 years |  | 0.3-0.5 |  |
|  |  |  | 5 years up to 10 years |  | 0.3-0.6 |  |
|  |  |  | 10 years up to 15 years |  | 0.4-0.9 |  |
|  |  |  | 15 years up to 18 years |  | 0.5-0.9 |  |
|  |  |  | 19 years up to 90 years; Male |  | 0.8-1.3 |  |
|  |  |  | 19 years- up to 90 years; Female |  | 0.6-1.1 |  |
|  |  |  | 90 up to 150 years; Male |  | 1.0-1.7 |  |
|  |  |  | 90 years up to 150 years; Female |  | 0.6-1.3 |  |
| Hemochron GH100 | ACT-LR | seconds |  |  | 65-400 |  |
|  | ACT+ | seconds |  |  | 68-600 |  |
| Quantra [QSTAT] | Clot Time | seconds |  | Whole Blood | 121-175 | Reference Range Verification Report For The Quantra Hemostasis Analyzer. By: Aaron Shmookler, MD. |
|  | Clot Stability To Lysis | % |  |  | 92-100 |  |
|  | Clot Stiffness | hectoPascals |  |  | 14.0-35.4 |  |
|  | Platelet Contribution To Clot Stiffness | hectoPascals |  |  | 12.8-32.3 |  |
|  | Fibrinogen Contribution to Clot Stiffness | hectoPascals |  |  | 0.9-4.2 |  |
| Quantra [Qplus] | Clot Time | seconds |  | Whole Blood | 104-166 |  |
|  | Clot Time Ratio | seconds |  |  | 0.8-1.2 |  |
|  | Fibrinogen Contribution to Clot Stiffness | hectoPascals |  |  | 1.0-3.7 |  |
|  | Heparinase Clot Time | hectoPascals |  |  | 103-153 |  |
| Sysmex | WBC | X 103 μL | 0 day up to 14 days; Male | Whole Blood | 8.04-15.40 | Heme Reference |
|  |  |  | 14 days up to 30 days; Male |  | 7.80-15.91 |  |
|  |  |  | 30 days up to 60 days; Male |  | 8.14-14.99 | Hematology Consensus |
|  |  |  | 60 days up to 180 days; Male |  | 6.51-13.32 |  |
|  |  |  | 180 days up to 2 years; Male |  | 5.98-13.51 |  |
|  |  |  | 2 years up to 6 years; Male |  | 5.14-13.38 |  |
|  |  |  | 6 years up to 12 years; Male |  | 4.31-11.00 |  |
|  |  |  | 12 years up to 18 years; Male |  | 3.84-9.84 |  |
|  |  |  | ≥ 18 years; Male |  | 3.70-10.30 |  |
|  |  |  | 0 day up to 14 days; Female |  | 8.16-14.56 |  |
|  |  |  | 14 days up to 30 days; Female |  | 8.36-14.42 |  |
|  |  |  | 30 days up to 60 days; Female |  | 7.05-14.68 |  |
|  |  |  | 60 days up to 180 days; Female |  | 6.00-13.25 |  |
|  |  |  | 180 days up to 2 years; Female |  | 6.48-13.02 |  |
|  |  |  | 2 years up to 6 years; Female |  | 4.86-13.18 |  |
|  |  |  | 6 years up to 12 years; Female |  | 4.27-11.40 |  |
|  |  |  | 12 years up to 18 years; Female |  | 4.19-9.43 |  |
|  |  |  | ≥ 18 years; Female |  | 3.70-10.30 |  |
|  | RBC | X 106 μL | 0 day up to 14 days; Male | Whole Blood | 4.10-5.55 | Heme Reference |
|  |  |  | 14 days up to 30 days; Male |  | 3.16-4.63 |  |
|  |  |  | 30 days up to 60 days; Male |  | 3.02-4.22 | Hematology Consensus |
|  |  |  | 60 days up to 180 days; Male |  | 3.43-4.80 |  |
|  |  |  | 180 days up to 2 years; Male |  | 4.03-5.07 |  |
|  |  |  | 2 years up to 6 years; Male |  | 3.89-4.97 |  |
|  |  |  | 6 years up to 12 years; Male |  | 3.96-5.03 |  |
|  |  |  | 12 years up to 18 years; Male |  | 4.03-5.29 |  |
|  |  |  | ≥ 18 years; Male |  | 4.60-6.10 |  |
|  |  |  | 0 day up to 14 days; Female |  | 4.12-5.74 |  |
|  |  |  | 14 days up to 30 days; Female |  | 3.32-4.80 |  |
|  |  |  | 30 days up to 60 days; Female |  | 2.93-3.87 |  |
|  |  |  | 60 days up to 180 days; Female |  | 3.45-4.75 |  |
|  |  |  | 180 days up to 2 years; Female |  | 3.97-5.01 |  |
|  |  |  | 2 years up to 6 years; Female |  | 3.84-4.92 |  |
|  |  |  | 6 years up to 12 years; Female |  | 3.90-4.96 |  |
|  |  |  | 12 years up to 18 years; Female |  | 3.93-4.90 |  |
|  |  |  | ≥ 18 years; Female |  | 3.90-5.20 |  |
|  | HBG | g/dL | 0 day up to 14 days; Male | Whole Blood | 13.9-19.1 | Heme Reference |
|  |  |  | 14 days up to 30 days; Male |  | 10.0-15.3 |  |
|  |  |  | 30 days up to 60 days; Male |  | 8.9-12.7 | Hematology Consensus |
|  |  |  | 60 days up to 180 days; Male |  | 9.6-12.4 |  |
|  |  |  | 180 days up to 2 years; Male |  | 10.1-12.5 |  |
|  |  |  | 2 years up to 6 years; Male |  | 10.2-12.7 |  |
|  |  |  | 6 years up to 12 years; Male |  | 10.7-13.4 |  |
|  |  |  | 12 years up to 18 years; Male |  | 11.0-14.5 |  |
|  |  |  | ≥ 18 years; Male |  | 13.7-17.5 |  |
|  |  |  | 0 day up to 14 days; Female |  | 13.4-20.0 |  |
|  |  |  | 14 days up to 30 days; Female |  | 10.8-14.6 |  |
|  |  |  | 30 days up to 60 days; Female |  | 9.2-11.4 |  |
|  |  |  | 60 days up to 180 days; Female |  | 9.9-12.4 |  |
|  |  |  | 180 days up to 2 years; Female |  | 10.2-12.7 |  |
|  |  |  | 2 years up to 6 years; Female |  | 10.2-12.7 |  |
|  |  |  | 6 years up to 12 years; Female |  | 10.6-13.2 |  |
|  |  |  | 12 years up to 18 years; Female |  | 10.8-13.3 |  |
|  |  |  | ≥ 18 years; Female |  | 11.2-15.7 |  |
|  | HCT | % | 0 day up to 14 days; Male | Whole Blood | 39.8-53.6 | Heme Reference |
|  |  |  | 14 days up to 30 days; Male |  | 30.5-45.0 |  |
|  |  |  | 30 days up to 60 days; Male |  | 26.8-37.5 | Hematology Consensus |
|  |  |  | 60 days up to 180 days; Male |  | 28.6-37.2 |  |
|  |  |  | 180 days up to 2 years; Male |  | 30.8-37.8 |  |
|  |  |  | 2 years up to 6 years; Male |  | 31.0-37.7 |  |
|  |  |  | 6 years up to 12 years; Male |  | 32.2-39.8 |  |
|  |  |  | 12 years up to 18 years; Male |  | 33.9-43.5 |  |
|  |  |  | ≥ 18 years; Male |  | 40.0-51.0 |  |
|  |  |  | 0 day up to 14 days; Female |  | 39.6-57.2 |  |
|  |  |  | 14 days up to 30 days; Female |  | 32.0-44.5 |  |
|  |  |  | 30 days up to 60 days; Female |  | 27.7-35.1 |  |
|  |  |  | 60 days up to 180 days; Female |  | 29.5-37.1 |  |
|  |  |  | 180 days up to 2 years; Female |  | 30.9-37.9 |  |
|  |  |  | 2 years up to 6 years; Female |  | 31.2-37.8 |  |
|  |  |  | 6 years up to 12 years; Female |  | 32.4-39.5 |  |
|  |  |  | 12 years up to 18 years; Female |  | 33.4-40.4 |  |
|  |  |  | ≥ 18 years; Female |  | 34.0-45.0 |  |
|  | MCV | fL | 0 day up to 14 days; Male | Whole Blood | 91-103 | Heme Reference |
|  |  |  | 14 days up to 30 days; Male |  | 89-100 |  |
|  |  |  | 30 days up to 60 days; Male |  | 84-94 | Hematology Consensus |
|  |  |  | 60 days up to 180 days; Male |  | 74-88 |  |
|  |  |  | 180 days up to 2 years; Male |  | 70-82 |  |
|  |  |  | 2 years up to 6 years; Male |  | 71-84 |  |
|  |  |  | 6 years up to 12 years; Male |  | 74-86 |  |
|  |  |  | 12 years up to 18 years; Male |  | 77-89 |  |
|  |  |  | ≥ 18 years; Male |  | 79-98 |  |
|  |  |  | 0 day up to 14 days; Female |  | 93-106 |  |
|  |  |  | 14 days up to 30 days; Female |  | 90-103 |  |
|  |  |  | 30 days up to 60 days; Female |  | 83-96 |  |
|  |  |  | 60 days up to 180 days; Female |  | 75-88 |  |
|  |  |  | 180 days up to 2 years; Female |  | 71-83 |  |
|  |  |  | 2 years up to 6 years; Female |  | 72-85 |  |
|  |  |  | 6 years up to 12 years; Female |  | 76-88 |  |
|  |  |  | 12 years up to 18 years; Female |  | 77-91 |  |
|  |  |  | ≥ 18 years; Female |  | 79-98 |  |
|  | MCH | pg | 0 day up to 14 days; Male | Whole Blood | 31.3-35.6 | Heme Reference |
|  |  |  | 14 days up to 30 days; Male |  | 29.9-34.1 |  |
|  |  |  | 30 days up to 60 days; Male |  | 27.8-32.0 | Hematology Consensus |
|  |  |  | 60 days up to 180 days; Male |  | 24.4-28.9 |  |
|  |  |  | 180 days up to 2 years; Male |  | 22.7-27.2 |  |
|  |  |  | 2 years up to 6 years; Male |  | 23.7-28.3 |  |
|  |  |  | 6 years up to 12 years; Male |  | 24.6-29.2 |  |
|  |  |  | 12 years up to 18 years; Male |  | 25.5-30.2 |  |
|  |  |  | ≥ 18 years; Male |  | 26.0-32.0 |  |
|  |  |  | 0 day up to 14 days; Female |  | 31.1-35.9 |  |
|  |  |  | 14 days up to 30 days; Female |  | 30.4-35.3 |  |
|  |  |  | 30 days up to 60 days; Female |  | 28.0-32.5 |  |
|  |  |  | 60 days up to 180 days; Female |  | 24.4-29.5 |  |
|  |  |  | 180 days up to 2 years; Female |  | 23.2-27.5 |  |
|  |  |  | 2 years up to 6 years; Female |  | 23.7-28.6 |  |
|  |  |  | 6 years up to 12 years; Female |  | 24.8-29.5 |  |
|  |  |  | 12 years up to 18 years; Female |  | 24.8-30.2 |  |
|  |  |  | ≥ 18 years; Female |  | 26.0-32.0 |  |
|  | MCHC | mg/dL | 0 day up to 14 days; Male | Whole Blood | 33.0-35.7 | Heme Reference |
|  |  |  | 14 days up to 30 days; Male |  | 32.7-35.1 |  |
|  |  |  | 30 days up to 60 days; Male |  | 32.3-34.8 | Hematology Consensus |
|  |  |  | 60 days up to 180 days; Male |  | 31.9-34.4 |  |
|  |  |  | 180 days up to 2 years; Male |  | 31.6-34.4 |  |
|  |  |  | 2 years up to 6 years; Male |  | 32.0-34.7 |  |
|  |  |  | 6 years up to 12 years; Male |  | 32.2-34.9 |  |
|  |  |  | 12 years up to 18 years; Male |  | 31.8-34.8 |  |
|  |  |  | ≥ 18 years; Male |  | 30.7-35.5 |  |
|  |  |  | 0 day up to 14 days; Female |  | 33.4-35.4 |  |
|  |  |  | 14 days up to 30 days; Female |  | 33.2-35.0 |  |
|  |  |  | 30 days up to 60 days; Female |  | 32.5-34.9 |  |
|  |  |  | 60 days up to 180 days; Female |  | 32.1-34.4 |  |
|  |  |  | 180 days up to 2 years; Female |  | 31.9-34.2 |  |
|  |  |  | 2 years up to 6 years; Female |  | 31.8-34.6 |  |
|  |  |  | 6 years up to 12 years; Female |  | 31.8-34.6 |  |
|  |  |  | 12 years up to 18 years; Female |  | 31.5-34.2 |  |
|  |  |  | ≥ 18 years; Female |  | 30.7-35.5 |  |
|  | PLT | X 103 μL | 0 day up to 14 days; Male | Whole Blood | 218-419 | Heme Reference |
|  |  |  | 14 days up to 30 days; Male |  | 248-586 |  |
|  |  |  | 30 days up to 60 days; Male |  | 229-562 | Hematology Consensus |
|  |  |  | 60 days up to 180 days; Male |  | 244-529 |  |
|  |  |  | 180 days up to 2 years; Male |  | 206-445 |  |
|  |  |  | 2 years up to 6 years; Male |  | 202-403 |  |
|  |  |  | 6 years up to 12 years; Male |  | 206-369 |  |
|  |  |  | 12 years up to 18 years; Male |  | 175-332 |  |
|  |  |  | ≥ 18 years; Male |  | 155-369 |  |
|  |  |  | 0 day up to 14 days; Female |  | 144-449 |  |
|  |  |  | 14 days up to 30 days; Female |  | 279-571 |  |
|  |  |  | 30 days up to 60 days; Female |  | 331-597 |  |
|  |  |  | 60 days up to 180 days; Female |  | 247-580 |  |
|  |  |  | 180 days up to 2 years; Female |  | 214-459 |  |
|  |  |  | 2 years up to 6 years; Female |  | 189-394 |  |
|  |  |  | 6 years up to 12 years; Female |  | 199-367 |  |
|  |  |  | 12 years up to 18 years; Female |  | 194-345 |  |
|  |  |  | ≥ 18 years; Female |  | 155-369 |  |
|  | MPV | fL | 0 day up to 14 days; Male | Whole Blood | 10.2-11.9 |  |
|  |  |  | 14 days up to 30 days; Male |  | 10.1-12.1 | Heme Reference |
|  |  |  | 30 days up to 60 days; Male |  | 9.2-10.8 |  |
|  |  |  | 60 days up to 180 days; Male |  | 8.9-10.6 | Hematology Consensus |
|  |  |  | 180 days up to 2 years; Male |  | 8.7-10.5 |  |
|  |  |  | 2 years up to 6 years; Male |  | 9.0-10.9 |  |
|  |  |  | 6 years up to 12 years; Male |  | 9.2-11.4 |  |
|  |  |  | 12 years up to 18 years; Male |  | 9.6-11.8 |  |
|  |  |  | ≥ 18 years; Male |  | 8.8-12.5 |  |
|  |  |  | 0 day up to 14 days; Female |  | 10.4-12.0 |  |
|  |  |  | 14 days up to 30 days; Female |  | 10.0-12.2 |  |
|  |  |  | 30 days up to 60 days; Female |  | 9.4-11.1 |  |
|  |  |  | 60 days up to 180 days; Female |  | 9.0-10.9 |  |
|  |  |  | 180 days up to 2 years; Female |  | 8.8-10.6 |  |
|  |  |  | 2 years up to 6 years; Female |  | 8.9-11.0 |  |
|  |  |  | 6 years up to 12 years; Female |  | 9.3-11.3 |  |
|  |  |  | 12 years up to 18 years; Female |  | 9.6-11.7 |  |
|  |  |  | ≥ 18 years; Female |  | 8.8-12.5 |  |
|  | RDW | % | 0 day up to 14 days; Male | Whole Blood | 14.8-17.0 |  |
|  |  |  | 14 days up to 30 days; Male |  | 14.3-16.8 | Heme Reference |
|  |  |  | 30 days up to 60 days; Male |  | 13.8-16.1 |  |
|  |  |  | 60 days up to 180 days; Male |  | 12.4-15.3 | Hematology Consensus |
|  |  |  | 180 days up to 2 years; Male |  | 12.9-15.6 |  |
|  |  |  | 2 years up to 6 years; Male |  | 12.5-14.9 |  |
|  |  |  | 6 years up to 12 years; Male |  | 12.3-14.1 |  |
|  |  |  | 12 years up to 18 years; Male |  | 12.4-14.5 |  |
|  |  |  | ≥ 18 years; Male |  | 11.5-14.5 |  |
|  |  |  | 0 day up to 14 days; Female |  | 14.6-17.3 |  |
|  |  |  | 14 days up to 30 days; Female |  | 14.4-16.2 |  |
|  |  |  | 30 days up to 60 days; Female |  | 13.6-15.8 |  |
|  |  |  | 60 days up to 180 days; Female |  | 12.2-14.3 |  |
|  |  |  | 180 days up to 2 years; Female |  | 12.7-15.1 |  |
|  |  |  | 2 years up to 6 years; Female |  | 12.4-14.9 |  |
|  |  |  | 6 years up to 12 years; Female |  | 12.2-14.4 |  |
|  |  |  | 12 years up to 18 years; Female |  | 12.3-14.6 |  |
|  |  |  | ≥ 18 years; Female |  | 11.5-14.5 |  |
|  | NEUTROPHIL | X 103 μL | 0 day up to 14 days; Male | Whole Blood | 1.60-6.06 |  |
|  |  |  | 14 days up to 30 days; Male |  | 1.18-5.45 | Heme Reference |
|  |  |  | 30 days up to 60 days; Male |  | 0.83-4.23 |  |
|  |  |  | 60 days up to 180 days; Male |  | 0.97-5.45 | Hematology Consensus |
|  |  |  | 180 days up to 2 years; Male |  | 1.19-7.21 |  |
|  |  |  | 2 years up to 6 years; Male |  | 1.54-7.92 |  |
|  |  |  | 6 years up to 12 years; Male |  | 1.63-7.55 |  |
|  |  |  | 12 years up to 18 years; Male |  | 1.54-7.04 |  |
|  |  |  | ≥ 18 years; Male |  | 1.60-6.10 |  |
|  |  |  | 0 day up to 14 days; Female |  | 1.73-6.75 |  |
|  |  |  | 14 days up to 30 days; Female |  | 1.12-4.80 |  |
|  |  |  | 30 days up to 60 days; Female |  | 1.00-4.68 |  |
|  |  |  | 60 days up to 180 days; Female |  | 1.04-7.20 |  |
|  |  |  | 180 days up to 2 years; Female |  | 1.27-7.18 |  |
|  |  |  | 2 years up to 6 years; Female |  | 1.6-8.29 |  |
|  |  |  | 6 years up to 12 years; Female |  | 1.64-7.87 |  |
|  |  |  | 12 years up to 18 years; Female |  | 1.82-7.47 |  |
|  |  |  | ≥ 18 years; Female |  | 1.60-6.10 |  |
|  | Lymphocyte | X 103 μL | 0 day up to 14 days; Male | Whole Blood | 2.07-7.53 |  |
|  |  |  | 14 days up to 30 days; Male |  | 2.11-8.38 |  |
|  |  |  | 30 days up to 60 days; Male |  | 2.47-7.95 | Heme Reference |
|  |  |  | 60 days up to 180 days; Male |  | 2.45-8.89 |  |
|  |  |  | 180 days up to 2 years; Male |  | 1.56-7.83 | Hematology Consensus |
|  |  |  | 2 years up to 6 years; Male |  | 1.13-5.52 |  |
|  |  |  | 6 years up to 12 years; Male |  | 0.97-3.96 |  |
|  |  |  | 12 years up to 18 years; Male |  | 0.97-3.26 |  |
|  |  |  | ≥ 18 years; Male |  | 1.20-3.90 |  |
|  |  |  | 0 day up to 14 days; Female |  | 1.75-8.00 |  |
|  |  |  | 14 days up to 30 days; Female |  | 2.42-8.20 |  |
|  |  |  | 30 days up to 60 days; Female |  | 2.29-9.14 |  |
|  |  |  | 60 days up to 180 days; Female |  | 2.14-8.99 |  |
|  |  |  | 180 days up to 2 years; Female |  | 1.52-8.09 |  |
|  |  |  | 2 years up to 6 years; Female |  | 1.25-5.77 |  |
|  |  |  | 6 years up to 12 years; Female |  | 1.16-4.28 |  |
|  |  |  | 12 years up to 18 years; Female |  | 1.16-3.33 |  |
|  |  |  | ≥ 18 years; Female |  | 1.20-3.90 |  |
|  | Monocyte | X 103 μL | 0 day up to 14 days; Male | Whole Blood | 0.52-1.77 |  |
|  |  |  | 14 days up to 30 days; Male |  | 0.28-1.38 | Heme Reference |
|  |  |  | 30 days up to 60 days; Male |  | 0.28-1.05 |  |
|  |  |  | 60 days up to 180 days; Male |  | 0.28-1.07 | Hematology Consensus |
|  |  |  | 180 days up to 2 years; Male |  | 0.25-1.15 |  |
|  |  |  | 2 years up to 6 years; Male |  | 0.19-0.94 |  |
|  |  |  | 6 years up to 12 years; Male |  | 0.19-0.85 |  |
|  |  |  | 12 years up to 18 years; Male |  | 0.18-0.78 |  |
|  |  |  | ≥ 18 years; Male |  | 0.30-0.90 |  |
|  |  |  | 0 day up to 14 days; Female |  | 0.57-1.72 |  |
|  |  |  | 14 days up to 30 days; Female |  | 0.42-1.21 |  |
|  |  |  | 30 days up to 60 days; Female |  | 0.28-1.21 |  |
|  |  |  | 60 days up to 180 days; Female |  | 0.24-1.17 |  |
|  |  |  | 180 days up to 2 years; Female |  | 0.26-1.08 |  |
|  |  |  | 2 years up to 6 years; Female |  | 0.24-0.92 |  |
|  |  |  | 6 years up to 12 years; Female |  | 0.19-0.81 |  |
|  |  |  | 12 years up to 18 years; Female |  | 0.19-0.72 |  |
|  |  |  | ≥ 18 years; Female |  | 0.30-0.90 |  |
|  | Eosinphil | X 103 μL | 0 day up to 14 days; Male | Whole Blood | 0.12-0.66 |  |
|  |  |  | 14 days up to 30 days; Male |  | 0.08-0.80 | Heme Reference |
|  |  |  | 30 days up to 60 days; Male |  | 0.05-0.57 |  |
|  |  |  | 60 days up to 180 days; Male |  | 0.03-0.61 | Hematology Consensus |
|  |  |  | 180 days up to 2 years; Male |  | 0.02-0.82 |  |
|  |  |  | 2 years up to 6 years; Male |  | 0.03-0.53 |  |
|  |  |  | 6 years up to 12 years; Male |  | 0.03-0.52 |  |
|  |  |  | 12 years up to 18 years; Male |  | 0.04-0.38 |  |
|  |  |  | ≥ 18 years; Male |  | 0.00-0.50 |  |
|  |  |  | 0 day up to 14 days; Female |  | 0.09-0.64 |  |
|  |  |  | 14 days up to 30 days; Female |  | 0.06-0.75 |  |
|  |  |  | 30 days up to 60 days; Female |  | 0.04-0.63 |  |
|  |  |  | 60 days up to 180 days; Female |  | 0.02-0.74 |  |
|  |  |  | 180 days up to 2 years; Female |  | 0.02-0.58 |  |
|  |  |  | 2 years up to 6 years; Female |  | 0.03-0.46 |  |
|  |  |  | 6 years up to 12 years; Female |  | 0.03-0.47 |  |
|  |  |  | 12 years up to 18 years; Female |  | 0.02-0.32 |  |
|  |  |  | ≥ 18 years; Female |  | 0.00-0.50 |  |
|  | Basophil | X 103 μL | 0 day up to 14 days; Male | Whole Blood | 0.02-0.11 |  |
|  |  |  | 14 days up to 30 days; Male |  | 0.01-0.07 |  |
|  |  |  | 30 days up to 60 days; Male |  | 0.01-0.07 | Heme Reference |
|  |  |  | 60 days up to 180 days; Male |  | 0.01-0.06 |  |
|  |  |  | 180 days up to 2 years; Male |  | 0.01-0.06 | Hematology Consensus |
|  |  |  | 2 years up to 6 years; Male |  | 0.01-0.06 |  |
|  |  |  | 6 years up to 12 years; Male |  | 0.01-0.06 |  |
|  |  |  | 12 years up to 18 years; Male |  | 0.01-0.05 |  |
|  |  |  | ≥ 18 years; Male |  | 0.00-0.10 |  |
|  |  |  | 0 day up to 14 days; Female |  | 0.02-0.07 |  |
|  |  |  | 14 days up to 30 days; Female |  | 0.01-0.06 |  |
|  |  |  | 30 days up to 60 days; Female |  | 0.01-0.05 |  |
|  |  |  | 60 days up to 180 days; Female |  | 0.01-0.07 |  |
|  |  |  | 180 days up to 2 years; Female |  | 0.01-0.06 |  |
|  |  |  | 2 years up to 6 years; Female |  | 0.01-0.06 |  |
|  |  |  | 6 years up to 12 years; Female |  | 0.01-0.05 |  |
|  |  |  | 12 years up to 18 years; Female |  | 0.01-0.05 |  |
|  |  |  | ≥ 18 years; Female |  | 0.00-0.10 |  |
|  | Immature Granulocytes | X 103 μL | 0 days up to 2 days; Male | Whole Blood | 0.00-0.28 |  |
|  |  |  | 2 days up to 14 days; Male |  | 0.00-0.27 | Heme Reference |
|  |  |  | 14 days up to 30 days; Male |  | 0.00-0.22 |  |
|  |  |  | 30 days up to 90 day; Male |  | 0.00-0.09 | Hematology Consensus |
|  |  |  | 90 days up to 180 days; Male |  | 0.00-0.06 |  |
|  |  |  | 180 days up to 2 years; Male |  | 0.00-0.14 |  |
|  |  |  | 2 years up to 6 years; Male |  | 0.00-0.06 |  |
|  |  |  | 6 years up to 12 years; Male |  | 0.00-0.04 |  |
|  |  |  | 12 years up to 18 years; Male |  | 0.00-0.03 |  |
|  |  |  | ≥ 18 years; Male |  | 0.00-0.06 |  |
|  |  |  | 0 days up to 2 days; Female |  | 0.00-0.28 |  |
|  |  |  | 2 days up to 14 days; Female |  | 0.00-0.27 |  |
|  |  |  | 14 days up to 30 days; Female |  | 0.00-0.22 |  |
|  |  |  | 30 days up to 90 day; Female |  | 0.00-0.09 |  |
|  |  |  | 90 days up to 180 days; Female |  | 0.00-0.06 |  |
|  |  |  | 180 days up to 2 years; Female |  | 0.00-0.14 |  |
|  |  |  | 2 years up to 6 years; Female |  | 0.00-0.06 |  |
|  |  |  | 6 years up to 12 years; Female |  | 0.00-0.04 |  |
|  |  |  | 12 years up to 18 years; Female |  | 0.00-0.03 |  |
|  |  |  | ≥ 18 years; Female |  | 0.00-0.06 |  |