## Crit Values Chart
BayCare Laboratory Critical Values Chart --- revised 08/06/2020
Hematology | Critical Low | Critical High | Units of Measure | CV Reporting Time (Time Test Performed to Called Time)
Hemoglobin | Less than 7.1 | Greater than 19.9 (Adults Only) | g/dL | Less than 30 minutes
WBC | Less than 2.1 | Greater than 29.9 | th/uL | Less than 30 minutes
Platelets | Less than 31 | None | th/uL | Less than 30 minutes
WBC, CSF |  | Greater than 5.9 | uL | Less than 30 minutes
Coagulation | Critical Low | Critical High | Units of Measure | CV Reporting Time
INR | None | Greater than 3.99 |  | Less than 30 minutes
PTT |  | Greater than 90 | seconds | Less than 30 minutes
Fibrinogen | Less than 40.1 | None | mg/dL | Less than 30 minutes
Chemistry - General | Critical Low | Critical High | Units of Measure | CV Reporting Time
Bilirubin, Cord Blood | None | Greater than 2.4 | mg/dL | Less than 30 minutes
Bilirubin, Neonatal | None | Greater than 14.9 | mg/dL | Less than 30 minutes
Calcium | Less than 7.1 | Greater than 12.9 | mg/dL | Less than 30 minutes
Calcium, Ionized | Less than 3.5 | Greater than 6.5 | mg/dL | Less than 30 minutes
CO2 | Less than 10 | Greater than 39 | mmol/L | Less than 30 minutes
Creatinine, Serum -- Pediatric (0 - 12 years) | None | Greater than 1.5 | mg/dL | Less than 30 minutes
Creatinine, Serum -- Pediatric (12 years, 1 day - 18 years) | None | Greater than 2.0 | mg/dL | Less than 30 minutes
Glucose -- Neonates (< 30 days old) | Less than 40.1 | Greater than 180 | mg/dL | Less than 30 minutes
Glucose -- Pediatric/Adults (31 days through adults) | Less than 54 | Greater than 400 | mg/dL | Less than 30 minutes
Lactate (Lactic Acid) | None | Greater than 4 | mmol/L | Less than 30 minutes
Magnesium | Less than 1.2 | Greater than 3.3 | mg/dL | Less than 30 minutes
Plasma Hemoglobin | None | Greater than 50 | mg/dL | Less than 30 minutes
Potassium -- Neonates | Less than 2.6 | Greater than 6.5 | mmol/L | Less than 30 minutes
Potassium -- Pediatric/Adults | Less than 3.0 | Greater than 5.9 | mmol/L | Less than 30 minutes
Sodium | Less than 121 | Greater than 159 | mmol/L | Less than 30 minutes
Chemistry - Cardiac Marker | Critical Low | Critical High | Units of Measure | CV Reporting Time
Troponin I | None | Greater than 1.00 | ng/mL | Less than 30 minutes
Troponini T (WH / WHWH) | None | Greater than 0.09 | ng/mL | Less than 30 minutes
Chemistry - Therapeutic Drugs | Critical Low | Critical High | Units of Measure | CV Reporting Time
Acetaminophen | None | Greater than 150 | mcg/mL | Less than 30 minutes
Amikacin Trough | None | Greater than 10 | mcg/mL | Less than 30 minutes
Amikacin Peak | None | Greater than 35 | mcg/mL | Less than 30 minutes
Carbamazepine | None | Greater than 15 | mcg/mL | Less than 30 minutes
Digoxin | None | Greater than 2.4 | ng/mL | Less than 30 minutes
Gentamicin Trough | None | Greater than 1.9 | mcg/mL | Less than 30 minutes
Gentamicin Peak | None | Greater than 12 | mcg/mL | Less than 30 minutes
Lithium | None | Greater than 2.0 | mmol/L | Less than 30 minutes
Phenobarbital | None | Greater than 60 | mcg/mL | Less than 30 minutes
Phenytoin | None | Greater than 25 | mcg/mL | Less than 30 minutes
Primidone | None | Greater than 15.0 | mcg/mL | Less than 30 minutes
Salicylate | None | Greater than 31 | mg/dL | Less than 30 minutes
Theophylline | None | Greater than 20.1 | mcg/mL | Less than 30 minutes
Tobramycin Trough | None | Greater than 1.9 | mcg/mL | Less than 30 minutes
Tobramycin Peak | None | Greater than 12 | mcg/mL | Less than 30 minutes
Valproic Acid | None | Greater than 119 | mcg/mL | Less than 30 minutes
Vancomycin Trough and Random | None | Greater than 25 | mcg/mL | Less than 30 minutes
Vancomycin Peak | None | Greater than 50 | mcg/mL | Less than 30 minutes
Blood Bank | Critical Value |  |  | CV Reporting Time
Direct Coombs, Newborns | Positive |  |  | Less than 30 minutes
Fetal Screen | Positive |  |  | Less than 30 minutes
Transfusion Reaction | Moderate or Severe |  |  | Less than 30 minutes
Microbiology | Critical Value |  |  | CV Reporting Time
Blood Culture | Positive Culture or Gram Stain | see Blood Culture Chart |  | Less than 30 minutes
Sterile Body Fluid Stain and/or Culture | Call first Positive result |  |  | Less than 30 minutes
AFB Stain and/or Culture | Call first Positive result |  |  | Less than 30 minutes
CSF Stain and/or Culture | Call first Positive result |  |  | Less than 30 minutes
Mycobacterium Tuberculosis PCR | Positive |  |  | Less than 30 minutes
AFB AMP PROBE | Positive for MTB complex |  |  | Less than 30 minutes
HSV 1+2 PCR | Positive in CSF and Blood |  |  | Less than 30 minutes
HSV/VZV panel by PCR | Positive in CSF and Blood |  |  | Less than 30 minutes
VZV PCR | Positive in CSF and Blood |  |  | Less than 30 minutes
Cryptococcal Ag | Positive in CSF |  |  | Less than 30 minutes
Pneumococcal Ag Urine/CSF | Positive in CSF |  |  | Less than 30 minutes
CMV PCR Qualitative | Positive in CSF |  |  | Less than 30 minutes
EBV PCR Quantitative | Positive in CSF |  |  | Less than 30 minutes
Respiratory Panel PCR | Positive for Bordetella pert/para |  |  | Less than 30 minutes
Bordetella pert/para PCR | Positive |  |  | Less than 30 minutes
Respiratory Care | Critical Low | Critical High | Units of Measure | CV Reporting Time
Lactate (Lactic Acid) Arterial RT | None | Greater than 4 | mmol/L | Less than 30 minutes
Glucose -- Neonates (< 30 days old) Arterial RT | Less than 40.1 | Greater than 180 | mg/dL | Less than 30 minutes
pH (0 min - 28 days) ArterialRT and CapillaryRT | Less than 7.2 | Greater than 7.6 |  | Less than 30 minutes
pH (29 days - 12 years old) ArterialRT | Less than 7.3 | Greater than 7.5 |  | Less than 30 minutes
pH ( ≥ 29 days) - CapillaryRT | Less than 7.25 | Greater than 7.52 |  | Less than 30 minutes
pH (Greater than 12 Years) ArterialRT | Less than 7.28 | Greater than 7.55 |  | Less than 30 minutes
AcidBase pH Cord (All ages) | Less than 7.15 | None |  | Less than 30 minutes
pCO2 (0 min - 28 days) CapillaryRT | Less than 30 | Greater than 70 | mmHg | Less than 30 minutes
pCO2 ( ≤ 12 years old) ArterialRT | Less than 30 | Greater than 60 | mmHg | Less than 30 minutes
pCO2 (Greater than 12 Years) ArterialRT | Less than 25 | None | mmHg | Less than 30 minutes
pO2 (0 min- 28 days) ArterialRT and CapillaryRT | Less than 30 | Greater than 100 | mmHg | Less than 30 minutes
pO2 (29 days - 12 years) ArterialRT | Less than 60 | None | mmHg | Less than 30 minutes
pO2 (Greater than 12 Years) ArterialRT | Less than 55 | None | mmHg | Less than 30 minutes
pO2 ( ≥ 29 Days) CapillaryRT | Less than 40 | None | mmHg | Less than 30 minutes
O2SAT calc ( All ages) CapillaryRT | Less than 60 | None | % | Less than 30 minutes
pCO2 Cord (All ages) | None | Greater than 65 | mmHg | Less than 30 minutes
THb (All ages) | Less than 7 | None | g/dL | Less than 30 minutes
Na++ (All ages) | Less than 121 | Greater than 159 | mmol/L | Less than 30 minutes
K++ (All ages) | Less than 3 | Greater than 5.9 | mmol/L | Less than 30 minutes
Ca+++ (All ages) | Less than 3.5 | Greater than 6.5 | mg/dL | Less than 30 minutes
Be calc (0 min - 28 days) ArterialRT and CapillaryRT | Less than (-10) | Greater than 10 | mmol/L | Less than 30 minutes
HCO3 act calc (0 min - 28 days) ArterialRT and CapillaryRT | Less than 15 | Greater than 30 | mmol/L | Less than 30 minutes
Department of Laboratory Services