Processing/shipping instructions for tests with "SPECIAL" designation should be read closely!

Below are some examples of processing and/or shipping instructions that qualified for applying the *SPECIAL* Processing Icon.

- Centrifuge within 1 hour or less

- Freeze or refrigerate within 1 hr or less.

- Nontypical shipping or routing requirements

- Aliquot into a special tube, sterile tube, etc.

- Aliquot packed cells (instead of plasma)

- Centrifuge at a special temperature

- Multi-step processing

- Tests that need more than one specimen type when aliquoting to clearly label each specimen type

- Urine that needs a specific pH

- Timed urine to note volume and duration

- Accompanying donor specimen required

- Additional data entry needed (ex: RBC Folate)

- Collect and clot at 37C

- More than one aliquot needed

- Source needs to be indicated on aliquot container

- Coagulation testing needing fast spin

- Stool with complex processing

- Most Pathology testing