Order of Draw for Evacuated Tube Blood Collection

- Verify that you are using a tube with the correct additive. Tube top colors may vary between manufacturers.

- Do not use expired tubes or tubes that have dropped on the floor.

- GENTLY invert all tubes immediately after collection.  DO NOT shake tubes.

DRAW

ORDER

DRAW

ORDER

DRAW

ORDER

| CONTAINER | ADDITIVE | Inversion | IMPORTANT INFORMATION |
| --- | --- | --- | --- |
| Blood Culture Vials | Culture Medium | 8-10 times | - Collect specimen in both vials (aerobic and anaerobic). Adult minimum volume is 10 mL for each bottle. - Must be drawn with winged collection device (using a discard tube) or a syringe (using a syringe transfer device). |
| 2.7 mL (Light Blue) 1.8 ml (Light Blue) | Sodium Citrate 3.2% | 3-4 times | - Draw 1-2 mL of blood in a light-blue-top discard tube before filling sample tube. - Sample tube MUST be filled to indicator line for valid test results. - Do NOT remove clots or send clotted specimens. - Do NOT add two partially filled tubes together. |
| Red (Serum) | Clot Activator (no gel) | 5 times | - Use for serum collections when Gel Barrier tubes should NOT be used |
| Gold with Gel Barrier (serum) | Clot Activator Gel Serum Separator | 5 times | - SST for serum determinations in Chemistry - Invert tubes to ensure proper mixing of clot activator. Clotting time 30 min. |
| Green (Plasma) Green w/Gel (Plasma) | Lithium Heparin Lithium Heparin Sep (Gel) Sodium Heparin | 8-10 times | - These tubes are NOT interchangeable. |
| Lavender (Plasma/ whole blood) | EDTA K2 | 8-10 times | - Do NOT remove clots or send clotted specimens. |
| Pink (Plasma/ whole blood) | EDTA K2 | 8-10 times | - Do NOT draw for CBC - Do NOT remove clots or send clotted specimens |
| Gray (Plasma) | Sodium Fluoride/ Potassium Oxalate | 8-10 times | - Routinely used for glucose testing - Do NOT remove clots or send clotted specimens |
| Yellow (Whole blood) | ACD Solution | 8-10 times | - Solution A and Solution B tubes are interchangeable. - Do NOT remove clots or send clotted Specimens |

Note: These are some common tubes used in Medstar laboratories to perform testing. For special tubes not included in this list, please call lab.