## CSF In-House Tests
Name of In-House Test | Epic Lab Code | Special Instructions | Minimum Volume | Preferred Volume | Collection Container | Stability from Collection to Lab | Testing Lab (Drop Off Location) | Perform Schedule | TAT | Test Menu Link
AFB (Acid Fast Bacilli) Culture | LAB10046 | Tube #3 preferred for Microbiology tests. CSF: Collect ≥ 2 mL in CSF sterile tube #3. | 2 mL | ≥ 2 mL | CSF Sterile Tube | 24 hours | Microbiology Laboratory, Starr 730 | Daily. Specimen must reach the Clinical Microbiology laboratory by 8 AM to be processed same day. | Acid Fast Bacilli (AFB) smears and routine culture results are reported within 24 hours of specimen receipt in the laboratory. Preliminary culture reports are issued weekly until completion of culture for a total of 8 weeks. Positive culture results are reported as soon as they are detected. Negative cultures are reported after 8 weeks of incubation. | https://www.testmenu.com/nyphweillcornell/Tests/255329
Anaerobic Culture | LAB10021 | Tube #3 preferred for Microbiology tests. Do not refrigerate. Transport at room temperature. Use anaerobic transport medium. Send to laboratory immediately. CSF: Collect ≥ 1 mL CSF in CSF sterile tube #3; use anaerobic transport medium. | 1 mL |  | Use anaerobic transport medium. | Send to laboratory immediately. If delay occurs, keep at room temperature. DO NOT refrigerate. | Microbiology Laboratory, Starr 730 | Daily | Cultures showing no bacterial growth can generally be reported after 5 days. Complete reports of cultures with anaerobic bacteria may take as long as 7 days after receipt of specimen, depending upon the nature of the organisms isolated. | https://www.testmenu.com/nyphweillcornell/Tests/255330
Cytomegalovirus (CMV), Quantitative Real-Time PCR, CSF | LAB6405 | Deliver to laboratory immediately after collection. Specimen must be in the lab by morning cut-off, for same day result. CSF: Collect 0.5-1 mL in CSF sterile tube. | 0.5 mL | 1 mL | CSF Sterile Tube | CSF must be transported at 2-25ºC and may be stored at 2-8ºC for up to 6 days or frozen at -20ºC or colder (-70ºC) for longer storage. | Deliver to Central Laboratory, Payson 800, for testing at Molecular Pathology Lab, F-534 | M-F except holidays. Cut-off time is 8am. | 5 days | https://www.testmenu.com/nyphweillcornell/Tests/448577
Cryptococcal Antigen, Lateral Flow | LAB9710 | Tube #3 preferred for Microbiology tests. CSF specimens positive for Cryptococcal Antigen must also be cultured. This does not pertain to follow-up specimens for titers in patients known to be previously positive. CSF: Collect ≥ 2 mL in CSF sterile tube #3. | 2 mL |  | CSF Sterile Tube |  | Microbiology Laboratory, Starr 730 | Daily | For Cryptococcal antigen screen: 2-4 hours | https://www.testmenu.com/nyphweillcornell/Tests/255381
CSF Cell Count w/Differential | LAB6651 | Last tube drawn is preferred for Cell Count. Immediately deliver to the laboratory as cells degenerate on standing. CSF: Collect ≥ 1 mL in CSF sterile tube; last tube drawn preferred. | 1 mL |  | CSF Sterile Tube | Cells degenerate rapidly on standing. Immediately deliver to the laboratory. | Central Laboratory, Payson 800 | Daily, 24 -hour service. | 3 hours | https://www.testmenu.com/nyphweillcornell/Tests/255217
CSF Culture w/Gram Stain | LAB9699 | The 2nd or 3rd tube collected during lumbar puncture is most suitable for culture, as skin contaminants from the puncture usually are washed out with fluid collected in the first tube(s). Hand deliver specimen to Clinical Microbiology Laboratory immediately. If delay is unavoidable, do not refrigerate if bacterial infection is suspected. Refrigeration may prevent recovery of common bacterial CSF pathogens, e.g., Neisseria meningitidis and Haemophilus influenzae. Maintain at room temperature. Requires aseptic preparation of aspiration site; contamination with usual microbiota from skin or other body surfaces must be avoided. Excessively bloody specimens which are clotted may lead to suboptimal results. CSF: Collect ≥ 1 mL in CSF sterile tube # 2 or 3. | 1 mL |  | CSF Sterile Tube | Room temperature | Microbiology Laboratory, Starr 730 | Daily | Preliminary reports are available within 24 hours, daily interim reports thereafter. Cultures with no growth will be reported as final at 3 days. Positive smears or cultures will be reported by phone and computer immediately upon detection of growth | https://www.testmenu.com/nyphweillcornell/Tests/255335
Cytology, Non-Gyn for CSF | LAB1845 | Deliver immediately to Starr 10 - Room 1098i. Place any specimen after 10 PM in Starr 1098 refrigerator and log it in Pathology binder. Requires a dedicated tube with EPIC order. EPIC Requisition must accompany specimen. To reprint requisition, go to Chart Review > Path tab in EPIC. Ensure Date of Collection and Accession Number are on requisition before delivering specimens to lab. CSF: Collect 7 mL in CSF sterile tube; will accept any volume. | Will accept any volume available | 7 mL | CSF Sterile Tube | Deliver IMMEDIATELY to preserve integrity of cells, or refrigerate if not possible. | Deliver to Starr 1098 for testing at Papanicolaou Cytology Lab, F766. Place any specimen after 10PM in Starr 1098 refrigerator and log it in Pathology binder. | Daily | 24-48 hours | https://www.testmenu.com/nyphweillcornell/Tests/414256
Epstein Barr Virus QN PCR CSF/Non-Blood | LAB9540 | Deliver to laboratory immediately after collection. Specimen must be in the lab by morning cut-off, for same day result. CSF: Collect 0.35 -0.5 mL in CSF sterile tube. | 0.35 mL | 0.5 mL | CSF Sterile Tube | CSF must be transported at 2-25ºC and may be stored at 2-8ºC for up to 6 days or frozen at -20ºC or colder (-70ºC). | Deliver to Central Laboratory, Payson 800, for testing at Molecular Pathology Lab, F-534 | M-F except holidays. Cut-off time is 8am. | 5 days | https://www.testmenu.com/nyphweillcornell/Tests/448579
Flow Cytometry for CSF | LAB1853 | Drop off all specimens to Starr 10 - Room 1098i. Hand-deliver or call Lab for pick up if unable to drop off specimen. Call Lab at (212) 746-2442 Option 3 for pickup during normal business hours. EPIC Requisition must accompany specimen. To reprint requisition, go to Chart Review > Path tab in EPIC. Ensure Date of Collection and Accession Number are on requisition before delivering specimens to lab. Unacceptable Conditions: Patients that have tested positive, for or suspicious for, CJD or active TB (latent TB is acceptable). CSF: Collect in CSF sterile tube; minimum volume is dependent on cellularity. | *Min Volume is Dependent on Cellularity | Cellularity determines volume acceptability | CSF Sterile Tube | Deliver IMMEDIATELY to preserve integrity of cells. | Drop off specimens at Starr 10, Room 1098i. Flow cytometry testing will be done at Immunopathology Laboratory, Starr 715 | Mon-Thurs 8:30am-6pm, Fri 8:30am-3pm. Closed Sat/Sun. EPIC chat HemePath Fellow On Call for Rush cases and for any case outside of normal business hours. Alternatively, page HemePath Fellow 17349. | 2 days If Rush case, EPIC chat HemePath Fellow On Call or page 17349. | https://www.testmenu.com/nyphweillcornell/Tests/612477
Fungus Culture | LAB9494 | Tube #3 preferred for Microbiology tests. Transport to Microbiology Laboratory (ST-730) immediately. Room temperature. CSF: Collect ≥ 1 mL in CSF sterile tube #3. | 1 mL |  | CSF Sterile Tube | Ambient: 48 hours; Refrigerated: 1 week | Microbiology Laboratory, Starr 730 | Daily | Fungal growth is reported as soon as detected. Fungus cultures are held for 4 weeks before being finalized as No Growth. | https://www.testmenu.com/nyphweillcornell/Tests/255341
Glucose, CSF | LAB4831 | Tube #1 in a set of three or tube #2 in a set of four is recommended for use in chemistry. CSF: Collect 0.5-1 mL in CSF sterile tube #1 in a set of three or tube #2 in a set of four. | 0.5 mL | 1 mL | CSF Sterile Tube | Room Temperature : 72 hours; Refrigerated: 1 month; Frozen: 1 month | Central Laboratory, Payson 800 | Daily, 24-hour service | Same day; Emergency: 60 minutes | https://www.testmenu.com/nyphweillcornell/Tests/255154
Immunoglobulin G (IgG), CSF | LAB4668 | Tube #1 in a set of three or tube #2 in a set of four is recommended for use in chemistry. CSF: Collect 0.5-1 mL in CSF sterile tube #1 in a set of three or tube #2 in a set of four. | 0.5 mL | 1 mL | CSF Sterile Tube | Room Temperature : 8 hours; Refrigerated: 7 days; Frozen: 6 months | Central Laboratory, Payson 800 | Monday - Friday (except weekends and holidays). | 24 hours except weekends and holidays | https://www.testmenu.com/nyphweillcornell/Tests/931362
Lactate Dehydrogenase, CSF | LAB4531 | Tube #1 in a set of three or tube #2 in a set of four is recommended for use in chemistry. CSF: Collect 0.5-1 mL in CSF sterile tube #1 in a set of three or tube #2 in a set of four. | 0.5 mL | 1 mL | CSF Sterile Tube | Room Temperature : 1 week; Refrigerated: 4 days; Frozen: 6 weeks | Central Laboratory, Payson 800 | Daily, 24- hour service | Same day | https://www.testmenu.com/nyphweillcornell/Tests/1286506
Lactic Acid, CSF | LAB4528 | Tube #1 in a set of three or tube #2 in a set of four is recommended for use in chemistry. CSF: Collect 0.5-1 mL in CSF sterile tube #1 in a set of three or tube #2 in a set of four. | 0.5 mL | 1 mL | CSF Sterile Tube | Room Temperature: 3 hours; Refrigerated: 24 hours; Frozen: 2 months | Central Laboratory, Payson 800 | Daily, 24- hour service | Same day | https://www.testmenu.com/nyphweillcornell/Tests/255263
Meningitis/Encephalitis CSF PCR Panel | LAB8999 | Tube #3 preferred for Microbiology tests. Specimens collected from indwelling CNS medical devices (i.e. shunts) cannot be tested. If insufficient CSF is sent for both culture and M/E panel the M/E panel will be cancelled and the culture performed. The M/E panel is a test of diagnosis and not a test of cure, and should not be used to follow treatment response. CSF specimens collected from inpatients, other than Bone Marrow transplant (BMT) patients, who develop central nervous system symptoms >72 hours (3 days) after admission to the hospital are not acceptable for analysis and will be canceled. Specimens from all inpatients, including BMT patients, who have already been tested in the past 30 days will be canceled. CSF: Collect ≥ 1.5 mL in CSF sterile tube #3. | 1.5 mL |  | CSF sterile tube | Room temperature | Microbiology Laboratory, Starr 730 | 24 hours/day; 7 days/week Repeat testing will not be performed within 30 days of the previous specimen submission. | 2 hours | https://www.testmenu.com/nyphweillcornell/Tests/716288
Protein, Total, CSF | LAB3970 | Tube #1 in a set of three or tube #2 in a set of four is recommended for use in chemistry. CSF: Collect 0.5-1 mL in CSF sterile tube #1 in a set of three or tube #2 in a set of four. | 0.5 mL | 1 mL | CSF Sterile Tube | Room Temperature: 24 hours; Refrigerated: 72 hours; Frozen: 6 months | Central Laboratory, Payson 800 | Daily, 24 -hour service. | 2 hours | https://www.testmenu.com/nyphweillcornell/Tests/255290
Toxoplasma Gondii, Quantitative Real-Time PCR, CSF | LAB8435 | Deliver to laboratory immediately after collection. Specimen must be in the lab by morning cut-off, for same day result. CSF: Collect 0.3-2 mL in CSF sterile tube. | 0.3 mL | 2 mL | CSF Sterile Tube | CSF must be transported at 2-25°C and may be stored 2-8°C for up to 72 hours or frozen at -20°C or colder (-70°C). | Deliver to Central Laboratory, Payson 800, for testing at Molecular Pathology Lab, F-534 | Batched 2x/week. Cut off time is 8am. | 5 days | https://www.testmenu.com/nyphweillcornell/Tests/696460
(updated 12/10/2025)

## CSF Send-Out Tests
Name of Send-Out Test | Epic Lab Code | Special Instructions | Requisition Form for Provider Completion | Minimum Volume | Preferred Volume | Collection Container | Stability from Collection to Sendouts | Specimen Drop-off Location | Reference Lab | Reference Lab Test Code | Performing Lab | Performed | TAT at Performing Lab | Reference Lab Link
Adenosine Deaminase in CSF | LAB5756 | CSF: Collect 0.2-0.5 mL in CSF sterile tube. | Not required | 0.2 mL | 0.5 mL | CSF Sterile Tube | Ambient: 24 hours; Refrigerated: 1 week; Frozen: 1 month | Central Laboratory, Payson 800 | ARUP | 3002982 | ARUP | Sunday, Tuesday, & Thursday | 1-4 days | https://ltd.aruplab.com/Tests/Pub/3002982
ADmark Alzheimer’s Evaluation | LAB101167 | CSF: Collect 0.7-1 mL CSF in Polypropylene Tube. | Not required | 0.7 mL | 1 mL | Polypropylene Tube | Ambient: 5 days; Refrigerated: 14 days; Frozen: 56 days | Central Laboratory, Payson 800 | Quest Diagnostics | 92433 | Quest Diagnostics | Monday, Wednesday, Friday, & Saturday | 7-14 days | https://testdirectory.questdiagnostics.com/test/test-detail/92433/admark-phospho-tautotal-taua-beta42analysis-and-interpcsfsymptomatic?p=r&q=admark&cc=PHP
Albumin, CSF | LAB5725 | Submit separate tube. Transport to lab IMMEDIATELY ON FROZEN ICE PACK. CSF: Collect 0.5-1 mL in CSF sterile tube. | Not required | 0.5 mL | 1 mL | CSF Sterile Tube | Ambient: Unacceptable; Refrigerated: 1 month; Frozen: 6 months | Central Laboratory, Payson 800 | ARUP | 50200 | ARUP | Sunday-Saturday | 1-3 days | https://ltd.aruplab.com/Tests/Pub/0050200
Alpha Fetoprotein, CSF (Tumor Marker) | LAB7553 | CSF: Collect 0.2-0.5 mL in CSF sterile tube. | Not required | 0.2 mL | 0.5 mL | CSF Sterile Tube | Ambient: 72 hours Refrigerated: 2 weeks; Frozen: 1 year | Central Laboratory, Payson 800 | ARUP | 20729 | ARUP | Sunday-Saturday | Within 24 hours | https://ltd.aruplab.com/Tests/Pub/0020729
Amino Acids Quantitative by LC-MS/MS, CSF | LAB5655 | Submit separate tube. Transport to lab IMMEDIATELY ON FROZEN ICE PACK. CSF: Collect 0.3-0.5 mL in CSF sterile tube. Complete and submit form: https://ltd.aruplab.com/api/ltd/pdf/16 | https://ltd.aruplab.com/api/ltd/pdf/16 | 0.3 mL | 0.5 mL | CSF Sterile Tube | Ambient: Unacceptable; Refrigerated: 24 hours; Frozen: 1 month | Central Laboratory, Payson 800 | ARUP | 80137 | ARUP | Sunday-Saturday | 2-5 days | https://ltd.aruplab.com/Tests/Pub/0080137
Angiotensin Converting Enzyme, CSF | LAB5609 | CSF: Collect 0.5-1 mL in CSF sterile tube. Transport to lab IMMEDIATELY (4 hour ambient temperature stability). | Not required | 0.5 mL | 1 mL | CSF Sterile Tube | Ambient: 4 hours; Refrigerated: 1 month; Frozen: 6 months | Central Laboratory, Payson 800 | ARUP | 98974 | ARUP | Monday, Wednesday, Friday | 1-5 days | https://ltd.aruplab.com/Tests/Pub/0098974
Aspergillus Galactomannan EIA | LAB9982 | Submit separate tube. Transport to lab IMMEDIATELY ON FROZEN ICE PACK (30 minute ambient temperature stability). CSF: Collect 0.5-2 mL in CSF sterile tube. | Not required | 0.5 mL | 2 mL | CSF Sterile Tube | Ambient: 30 minutes; Refrigerated: 7 days; Frozen: 7 days | Central Laboratory, Payson 800 | Viracor | 1603 | Viracor | Monday-Saturday | Within 8 - 12 hours from receipt of specimen | https://www.eurofins-viracor.com/clinical/test-menu/1600-aspergillus-galactomannan-eia/
Autoimmune Encephalopathy/Dementia Panel, CSF | LAB101721 | CSF: Collect 1.5-3 mL in CSF sterile tube. | Not required | 1.5 mL | 3 mL | CSF Sterile Tube | Ambient: 24 hours; Refrigerated: 1 week; Frozen: 30 days | Central Laboratory, Payson 800 | ARUP | 3006202 | ARUP | Varies | 3-10 days | https://ltd.aruplab.com/Tests/Pub/3006202
Autoimmune Pediatric CNS Disorders, CSF | LAB11542 | CSF: Collect 1.5-3 mL in CSF sterile tube. | Not required | 1.5 mL | 3 mL | CSF Sterile Tube | Ambient: 24 hours; Refrigerated: 1 week; Frozen: 30 days | Central Laboratory, Payson 800 | ARUP | 3006211 | ARUP | Varies | 3-10 days | https://ltd.aruplab.com/Tests/Pub/3006211
Beta-2 Microglobulin, CSF | LAB5525 | CSF: Collect 0.4-0.5 mL in CSF sterile tube. | Not required | 0.4 mL | 0.5 mL | CSF Sterile Tube | Ambient: 72 hours; Refrigerated: 1 week; Frozen: 2 weeks | Central Laboratory, Payson 800 | ARUP | 80054 | ARUP | Sunday-Saturday | Within 24 hours | https://ltd.aruplab.com/Tests/Pub/0080054
Beta-hCG, Quantitative (Tumor Marker), CSF | LAB4784 | To support the diagnosis of brain metastases of testicular cancer or extragonadal intracerebral germ cell tumors. CSF: Collect 0.3-0.5 mL in CSF sterile tube. | Not required | 0.3 mL | 0.5 mL | CSF Sterile Tube | Ambient: 5 days; Refrigerated: 2 weeks; Frozen 1 year | Central Laboratory, Payson 800 | ARUP | 20730 | ARUP | Sunday-Saturday | Within 24 hours | https://ltd.aruplab.com/Tests/Pub/0020730
Borrelia Species DNA, Qualitative Real-Time PCR, Miscellaneous | LAB9880 | CSF: Collect 0.5-1 mL in CSF sterile tube. | Not required | 0.5 mL | 1 mL | CSF Sterile Tube | Ambient: 72 hours; Refrigerated: 7 days; Frozen: 30 days | Central Laboratory, Payson 800 | Quest Diagnostics | 15777 | Quest Diagnostics | Monday-Saturday | 3 days | https://testdirectory.questdiagnostics.com/test/test-detail/15777/borrelia-species-dna-qualitative-real-time-pcr-miscellaneous?p=r&q=lyme%20pcr&cc=PHP
Coccidioides Abs Panel, CSF | LAB10794 | CSF: Collect 1-2 mL in CSF sterile tube. Parallel testing is preferred and convalescent specimens must be received within 30 days from receipt of the acute specimens. Mark specimens plainly as "acute" or "convalescent." | Not required | 1 mL | 2 mL | CSF Sterile Tube | Ambient: 48 hours; Refrigerated 2 weeks; Frozen: 1 year | Central Laboratory, Payson 800 | ARUP | 3000061 | ARUP | Sunday-Saturday | 3-6 days | https://ltd.aruplab.com/Tests/Pub/3000061
Cytokine Panel 13, CSF | LAB101150 | CRITICAL FROZEN. Submit separate tube. Transport to lab IMMEDIATELY ON FROZEN ICE PACK (30 minute ambient temperature stability). CSF: Collect 0.4-1 mL in CSF sterile tube. | Not required | 0.4 mL | 1 mL | CSF Sterile Tube | Ambient: 30 minutes; Refrigerated: Unacceptable; Frozen: 1 month | Central Laboratory, Payson 800 | ARUP | 3003259 | ARUP | Sunday-Saturday | 1-4 days | https://ltd.aruplab.com/Tests/Pub/3003259
Encephalopathy, Autoimmune/Paraneoplastic Evaluation, Spinal Fluid | LAB100180 | CSF: Collect 2-4 mL in CSF sterile tube. | Not required | 2 mL | 4 mL | CSF Sterile Tube | Ambient: 72 hours; Refrigerated: 28 days; Frozen: 28 days | Central Laboratory, Payson 800 | Mayo Clinic | ENC2 | Mayo Clinic | Profile tests: Monday-Sunday; Reflex tests: Varies | 8-12 days | https://www.mayocliniclabs.com/test-catalog/overview/92117
Enterovirus, Real-time PCR | LAB58981 | CSF: Collect 0.2-0.5 mL in CSF sterile tube. | Not required | 0.2 mL | 0.5 mL | CSF Sterile Tube | Ambient: 7 days; Refrigerated: 7 days; Frozen: 90 days | Central Laboratory, Payson 800 | LabCorp | 138636 | LabCorp | Monday-Saturday | 3-4 days | https://www.labcorp.com/tests/138636/enterovirus-real-time-pcr
Fungitell® ß-D-Glucan Assay | LAB9497 | CSF: Collect 0.5-3 mL in CSF sterile tube. | Not required | 0.5 mL | 3 mL | CSF Sterile Tube | Ambient: 4 days; Refrigerated: 7 days; Frozen: 30 days | Central Laboratory, Payson 800 | Viracor | 1703 | Viracor | Monday-Saturday | Within 8 - 12 hours from receipt of specimen | https://www.eurofins-viracor.com/clinical/test-menu/1700-fungitell/
Fungitell® ß-D-Glucan with Reflex to Titer | LAB10959 | CSF: Collect 0.5-3 mL in CSF sterile tube. | Not required | 0.5 mL | 3 mL | CSF Sterile Tube | Ambient: 4 days; Refrigerated: 7 days; Frozen: 30 days | Central Laboratory, Payson 800 | Viracor | 351703 | Viracor | Monday-Saturday | Within 8 - 12 hours from receipt of specimen | https://www.eurofins-viracor.com/clinical/test-menu/351700-fungitell-with-reflex-to-titer/
Glutamic Acid Decarboxylase (GAD65) Antibody Assay, Spinal Fluid | LAB7294 | Submit CSF from collection vial 2. CSF: Collect 1-1.5 mL in CSF sterile tube # 2. | Not required | 1 mL | 1.5 ml | CSF Sterile Tube | Ambient: 72 hours; Refrigerated: 28 days; Frozen: 28 days | Central Laboratory, Payson 800 | Mayo Clinic | GD65C | Mayo Clinic | Monday-Sunday | 3-6 days | https://www.mayocliniclabs.com/test-catalog/overview/84221
Herpes Simplex Virus 1 & 2 (HSV-1 & HSV-2) Quantitative Real-time PCR | LAB9322 | CRITICAL FROZEN. Submit separate tube. Transport to lab IMMEDIATELY ON FROZEN ICE PACK. CSF: Collect 0.5-2 mL in CSF sterile tube. | Not required | 0.5 mL | 2 mL | CSF Sterile Tube | Ambient: Unacceptable Refrigerated: Unacceptable Frozen: 3 days | Central Laboratory, Payson 800 | Viracor | 8503 | Viracor | Monday-Saturday | Within 8 - 12 hours from receipt of specimen | https://www.eurofins-viracor.com/clinical/test-menu/8500-herpes-simplex-viruses-1-2-hsv-1-hsv-2-quantitative-pcr/
HHV-6 Quantitative Real-time PCR | LAB9206 | Submit separate tube. Transport to lab IMMEDIATELY ON FROZEN ICE PACK (30 minute ambient temperature stability). CSF: Collect 0.5-2 mL in CSF sterile tube. | Not required | 0.5 mL | 2 mL | CSF Sterile Tube | Ambient: 30 minutes; Refrigerated: 7 days; Frozen: Indefinite | Central Laboratory, Payson 800 | Viracor | 6503 | Viracor | Monday-Saturday | Within 8 - 12 hours from receipt of specimen | https://www.eurofins-viracor.com/clinical/test-menu/6500-hhv-6-quantitative-real-time-pcr/
Immunoglobulins, CSF Quantitative | LAB7127 | CSF: Collect 0.6-1 mL in CSF sterile tube. Transport to lab IMMEDIATELY (2 hour ambient temperature stability). | Not required | 0.6 mL | 1 mL | CSF Sterile Tube | Ambient: 2 hours; Refrigerated: 1 month; Frozen: 6 months | Central Laboratory, Payson 800 | ARUP | 50631 | ARUP | Wednesday, Saturday | 1-5 days | https://ltd.aruplab.com/Tests/Pub/0050631
JC Virus (JCV) Quantitative Real-time PCR | LAB9137 | Submit separate tube. Transport to lab IMMEDIATELY ON FROZEN ICE PACK (30 minute ambient temperature stability). CSF: Collect 0.5-2 mL in CSF sterile tube. | Not required | 0.5 mL | 2 mL | CSF Sterile Tube | Ambient: 30 minutes; Refrigerated: 7 days; Frozen: 30 days (at -80 °C) | Central Laboratory, Payson 800 | Viracor | 3503 | Viracor | Monday-Saturday | Within 8 - 12 hours from receipt of specimen | https://www.eurofins-viracor.com/clinical/test-menu/3500-jc-virus-jcv-quantitative-pcr/
Lyme Disease Antibodies (IgG, IgM), Immunoblot, CSF | LAB7066 | CSF: Collect 0.5-2 mL in CSF sterile tube. | Not required | 0.5 mL | 2 mL | CSF Sterile Tube | Ambient: 7 days; Refrigerated: 14 days; Frozen: 30 days | Central Laboratory, Payson 800 | Quest Diagnostics | 70028 | Quest Diagnostics | Monday, Wednesday, & Friday | 5 days | https://testdirectory.questdiagnostics.com/test/test-detail/70028/lyme-disease-antibodies-igg-igm-immunoblot-csf?q=70028&cc=PHP
Myelin Basic Protein | LAB4344 | CSF: Collect 0.3-1 mL in CSF sterile tube. | Not required | 0.3 mL | 1 mL | CSF Sterile Tube | Ambient: 48 hours; Refrigerated: 2 weeks; Frozen: 3 weeks | Central Laboratory, Payson 800 | ARUP | 80515 | ARUP | Sunday-Saturday | 1-4 days | https://ltd.aruplab.com/Tests/Pub/0080515
Myelin Oligodendrocyte Glycoprotein (MOG) Antibody with Reflex to Titer, CSF | LAB58363 | CSF: Collect 0.5-2 mL in CSF sterile tube. | Not required | 0.5 mL | 2 mL | CSF Sterile Tube | Ambient: 7 days; Refrigerated: 14 days; Frozen: 21 days | Central Laboratory, Payson 800 | Quest Diagnostics | 36954 | Quest Diagnostics | Wednesday | 10 days | https://testdirectory.questdiagnostics.com/test/test-detail/36954/myelin-oligodendrocyte-glycoproteinmogantibody-with-reflex-to-titercsf?p=r&q=36954&cc=PHP
Neuromyelitis Optica (NMO)/Aquaporin-4-IgG Fluorescence-Activated Cell Sorting (FACS) Assay, Spinal Fluid | LAB6977 | CSF: Collect 2-3 mL in CSF sterile tube. | Not required | 2 mL | 3 mL | CSF Sterile Tube | Ambient: 72 hours; Refrigerated: 28 days; Frozen: 28 days | Central Laboratory, Payson 800 | Mayo Clinic | NMOFC | Mayo Clinic | Monday, Tuesday, & Thursday | 5-8 days | https://www.mayocliniclabs.com/test-catalog/overview/38325
N-methyl-D-Aspartate Receptor (NMDAR) Antibody, IgG by CBA-IFA, CSF With Reflex to Titer | LAB6990 | CSF: Collect 0.15-0.5 mL in CSF sterile tube. | Not required | 0.15 mL | 0.5 mL | CSF Sterile Tube | Ambient: 48 hours; Refrigerated: 2 weeks; Frozen: 1 year | Central Laboratory, Payson 800 | ARUP | 2005164 | ARUP | Sunday-Saturday | 1-3 days | https://ltd.aruplab.com/Tests/Pub/2005164
Oligoclonal Band Profile (includes IgG CSF index) | LAB4346 | Submit CSF AND Blood. Transport to lab IMMEDIATELY (1 hour stability). CSF: Collect 1-1.5 mL in CSF sterile tube. Blood: Collect blood in Serum Separator tube (SST) to capacity for 0.6-1 mL serum. | Not required | CSF: 1 mL Serum: 0.6 mL | CSF: 1.5 mL Serum: 1 mL | CSF Sterile Tube AND Serum Separator Tube (SST) | Ambient: 2 hours; Refrigerated: 14 days; Frozen: 6 months | Central Laboratory, Payson 800 | ARUP | 80440 | ARUP | Sunday-Saturday | 1-3 days | https://ltd.aruplab.com/Tests/Pub/0080440
Paraneoplastic, Autoantibody Evaluation, Spinal Fluid | LAB6926 | Submit CSF from collection vial 2, if possible CSF: Collect 2-4 mL in CSF sterile tube # 2, if possible. | Not required | 2 mL | 4 mL | CSF Sterile Tube | Ambient: 72 hours; Refrigerated: 28 days; Frozen: 28 days | Central Laboratory, Payson 800 | Mayo Clinic | PAC1 | Mayo Clinic | Profile tests: Monday-Sunday; Reflex tests: Varies | 10-17 days | https://www.mayocliniclabs.com/test-catalog/overview/37430
Prion Markers (CJD), CSF | LAB8247 | CRITICAL FROZEN. Submit separate tube. Transport to lab IMMEDIATELY ON FROZEN ICE PACK. *Do not submit first 2 mL of CSF that flows from the tap. CSF: Collect 1-2 mL in CSF* sterile tube. Complete and submit requisition form: https://ltd.aruplab.com/api/ltd/pdf/385 | https://ltd.aruplab.com/api/ltd/pdf/385 | 1 mL | 2 mL | CSF Sterile Tube | Ambient: Unacceptable; Refrigerated: Unacceptable; Frozen: Indefinitely | Central Laboratory, Payson 800 | ARUP | 3019310 | National Prion Disease Pathology Surveillance Center | Varies | 7-17 days | https://ltd.aruplab.com/Tests/Pub/3019310
Protein Electrophoresis, CSF | LAB3989 | CSF: Collect 0.5-1 mL in CSF sterile tube. | Not required | 0.5 mL | 1 mL | CSF Sterile Tube | Ambient: 8 hours; Refrigerated: 2 weeks; Frozen: 1 month | Central Laboratory, Payson 800 | ARUP | 50590 | ARUP | Monday, Wednesday, & Friday | 1-5 days | https://ltd.aruplab.com/Tests/Pub/0050590
Pyruvic Acid, CSF | LAB3938 | Submit separate tube. Transport to lab IMMEDIATELY ON FROZEN ICE PACK. CSF: Must collect 1 mL in CSF sterile tube. | Not required | 1 mL | 1 mL | CSF Sterile Tube | Ambient: Unacceptable; Refrigerated: 2 days; Frozen: 1 month | Central Laboratory, Payson 800 | ARUP | 80312 | ARUP | Sunday-Saturday | 1-2 days | https://ltd.aruplab.com/Tests/Pub/0080312
Toxoplasma gondii (IgG), ELISA, CSF | LAB6748 | CSF: Collect 0.25-0.5 mL in CSF sterile tube. | Not required | 0.25 mL | 0.5 mL | CSF Sterile Tube | Ambient: 7 days; Refrigerated: 14 days; Frozen: 30 days | Central Laboratory, Payson 800 | Quest Diagnostics | 10666 | Quest Diagnostics | Tuesday, Thursday | 1-6 days | https://testdirectory.questdiagnostics.com/test/test-detail/10666/toxoplasma-gondii-igg-elisa-csf?p=r&q=10666&cc=PHP
Treponema pallidum (VDRL), Cerebrospinal Fluid with Reflex to Titer | LAB8423 | CSF: Collect 0.4-0.5 mL in CSF sterile tube. | Not required | 0.4 mL | 0.5 mL | CSF Sterile Tube | Ambient: 48 hours; Refrigerated: 2 weeks; Frozen: 1 year (avoid repeated freeze/thaw cycles) | Central Laboratory, Payson 800 | ARUP | 50206 | ARUP | Sunday-Saturday | 1-4 days | https://ltd.aruplab.com/Tests/Pub/0050206
Varicella Zoster Virus (VZV) Quantitative Real-time PCR | LAB8358 | Submit separate tube. Transport to lab IMMEDIATELY ON FROZEN ICE PACK (30 minute ambient temperature stability). CSF: Collect 0.5-2 mL in CSF sterile tube. | Not required | 0.5 mL | 2 mL | CSF Sterile Tube | Ambient: 30 minutes; Refrigerated: 7 days; Frozen: 30 days (at -80 °C) | Central Laboratory, Payson 800 | Viracor | 9503 | Viracor | Monday-Saturday | Within 8 - 12 hours from receipt of specimen | https://www.eurofins-viracor.com/clinical/test-menu/9500-varicella-zoster-virus-vzv-quantitative-pcr/
Viral Encephalitis Panel | LAB8340 | Only Neurology and Infectious Diseases providers can order the test. These orders require approval by Infectious Diseases and Microbiology Directors before sent to Wadsworth. Recommend "Meningitis/Encephalitis CSF PCR Panel" (LAB8999) in-house testing first. Transport IMMEDIATELY to Microbiology Laboratory, Starr 730, for submission to NYSDOH Wadsworth Lab. Submit separate CSF tube for test. CSF: Collect 1-2 mL in CSF sterile tube. Recommend calling NYS DOH at (518) 474-4177 to ensure appropriate collection requirements, including additional serum, urine, and whole blood (e.g., for Arbovirus) depending on the season. Complete and submit requisition form: https://www.wadsworth.org/sites/default/files/WebDoc/DOH-4463%20Infectious%20Disease%20Requisition%2007_2022.pdf | https://www.wadsworth.org/sites/default/files/WebDoc/DOH-4463%20Infectious%20Disease%20Requisition%2007_2022.pdf | CSF: 1 mL | CSF: 2 mL | CSF Sterile Tube | Specimens should only be shipped Sunday-Thursday. Specimens cannot be sent Friday. | Microbiology Laboratory, Starr 730 | New York State Department of Health Wadsworth Lab | 686 (Jun 1-Nov 30) 693 (Dec 1-May 31) | New York State Department of Health Wadsworth Lab | Monday, Wednesday, Friday | 7-10 days | https://www.wadsworth.org/programs/id/virology/services/encephalitis
(updated 11/21/2025)

## CSF Workflow Pics
(updated 10/15/2025)

## REMINDERS
REMINDERS
1 | Due to potential loss of specimen during the aliquoting process, minimum volume may not be sufficient depending on the number of tests ordered. Please obtain more than the minimal volume if possible to avoid test cancelations.
2 | All tests MUST be marked as Collected in order to be processed successfully in laboratories.
3 | See LINK TO JOB AIDE FOR ROVER SPECIMEN COLLECTION
4 | All Anatomic Pathology tests (Surgical Pathology, Cytology, Flow Cytometry, Cytogenetics, etc.) require a paper EPIC requisition to accompany specimen.
5 | After collecting a specimen, EPIC requisitions are auto printed at patient location. Requisitions can only be reprinted from the Chart Review > Path tab in EPIC for complete information, including accession number and collection date/time.
6 | Following an LP, provider to notify Unit Clerk or Nurse when CSF specimens are dropped off in Blue Bin for Escort/Transport.
7 | Following an LP, provider to follow up with Unit Clerk or Nurse to verify CSF specimens were picked up by Escort/Transport.
8 | To follow up with Send-out Lab (L801), send EPIC Haiku message to WC AMB Outreach Sendouts. DO NOT send CSF specimens directly to Send-out Lab (L801); must be sent to Central Lab (P8).
9 | To follow up with Patient Escort, send EPIC message to WC Patient Transport Leadership or call 212-746-0912.
10 | Remaining CSF specimen is stored by each laboratory as follows: - Central Lab (P8) and Send-out Lab (L801): 1 week refrigerated Exception: CSF from case with CJD in differential is stored 1 month awaiting 14-3-3 prion results to determine disposal method - Cytology (F766): 2 weeks at room temperature - Microbiology (ST730): 1 month in freezer - Molecular Pathology (F534): Frozen at -20°C for 6 months. Plasma and CSF samples are stable for up to four freeze/thaw cycles when frozen at -20°C.
11 | For CSF w/CJD in the differential: - Follow hospital policies IC-600 and EOC.85 for CJD specimen and waste management. - Microbiology pathology resident must be paged (pager 13564) in advance of CSF collection. - Specimen containers must be affixed with "Caution CJD" label. If a label is not available, "r/o CJD" must be handwritten on the specimen container and requisition form. Specimens must be hand-delivered. - Flow cytometry test cannot be performed on CSF specimen with CJD in the differential. - If CJD is moderate-high risk, Microbiology tests will not be performed until 14-3-3 prion test comes back negative; CSF will be frozen until then. All other CSF lab tests are performed.
12 | For EVD CSF collections, deselect CSF CELL COUNT W DIFF Tube #4, since a separate tube will not be collected:
#VALUE!
(updated 12/10/2025)

## Printing Reqs
REPRINTING REQUISITIONS for Anatomic Pathology tests (Surgical Pathology, Cytology, Flow Cytometry, Cytogenetics, etc.):
1. Proceed to Path tab of Chart Review and click on test of interest, in this case flow cytometry. Click on Order Information icon:
2. Scroll down to Reprint Order Requisition and click link:
3. Requisition with Accession number barcode and Collection Date and Time as required:
(updated 10/15/2025)

## Discontinued Tests
Discontinued Lab Tests - No longer available to order in EPIC
Name of Send-Out Test | Epic Lab Code | Performing Lab | Reference Lab Link | Replacement Test
Listeria Antibody, CF, CSF | LAB101218 | Quest Diagnostics Infectious Disease Inc. | https://testdirectory.questdiagnostics.com/test/test-detail/11012/listeria-antibody-cf-csf?p=r&q=Listeria%20Antibody,%20CSF%20by%20CF&cc=PHP | CSF culture Meningitis/Encephalitis panel
IgG CSF Index | LAB4690 | ARUP | https://ltd.aruplab.com/Tests/Pub/0050676 | Order Oligoclonal Band Profile, which includes IgG Index
VDRL - Spinal Fluid | LAB6728 | Central Laboratory, Payson 800 | https://www.testmenu.com/nyphweillcornell/Tests/255608 | Treponema pallidum (VDRL), Cerebrospinal Fluid with Reflex to Titer (ARUP)
Admark Alzheimer’s Evaluation | LAB101167 | Athena Diagnostics (test code 178) | https://www.athenadiagnostics.com/view-full-catalog/admark-alzheimers-evaluation1 | Replaced by two tests: • Admark Alzheimer’s Evaluation (test code 92433): performed at Quest • APoE (test code APOEG): performed at Mayo Clinic
Admark Phospho-Tau/Total-Tau/A Beta42, Analysis and Interp, CSF (Symptomatic) | LAB5750 | Athena Diagnostics (test code 177) | https://www.athenadiagnostics.com/view-full-catalog/admark-phospho-tau-total-tau-a-beta42analysis-and-interpcsfsymptomatic1 | Admark Alzheimer’s Evaluation (test code 92433): performed at Quest
(updated 11/21/2025)