## Amphet
Amphetamine/Methamphetamine
Specificity
Various potentially interfering substances were tested for cross-reactivity with the assay.
The compounds listed in the table below produced (at the
concentrations listed) a negative result relative to the cutoff calibrator.
Compound | 500 ng/mL Cutoff | 1000 ng/mL Cutoff
| Concentration | Concentration
| (μg/mL) | (μg/mL)
Acetaminophen | 1000 | 1000
Acetylsalicylic acid | 1000 | 1000
I-Amphetamine | 12.5 | 12.5
Benzoylecgonine | 1000 | 1000
Benzphetamine | 20 | 20
Benzylpiperazine | 40 | 63
Bupropion | 13 | 50
Caffeine | 1000 | 1000
Cetirizin Dihydrochloride | 1000 | 1000
Chlorpromazine | 500 | 500
Codeine | 1000 | 1000
Dextromethorphan | 1000 | 1000
d-Ephedrine | 1000 | 2000
I-Ephedrine | 100 | 350
d,I-Ephedrine | 200 | 700
Fenfluramine | 1.2 | 4
Isometheptene | 6 | 20
Isoxsuprine | 100 | 100
Meperidine | 1000 | 1000
Mephentermine | 15 | 25
Methadone | 1000 | 1000
I-Methamphetamine | 3.5 | 10
Methapyrilene | 100 | 500
Methylphenidate | 150 | 500
Metronidazole | 1000 | 1000
Morphine | 1000 | 1000
Nor-pseudoephedrine | 600 | 1000
Oxazepam | 500 | 500
Phencyclidine | 1000 | 1000
Phendimetrazine | 40 | 200
Phenethylamine | 30 | 100
Phenmetrazine | 1.5 | 4
Phenobarbital | 1000 | 1000
Phenothiazine | 10 | 10
Phentermine | 17.5 | 25
Phenylephrine | 300 | 500
Phenylpropanolamine | 200 | 250
Procainamide | 13 | 20
Promethazine | 500 | 500
Propranolol | 200 | 200
d-Pseudoephedrine | 75 | 250
I-Pseudoephedrine | 150 | 250
Ranitidine | 250 | 600
Scopolamine | 35 | 100
Secobarbital | 1000 | 1000
Thioridazine | 1000 | 1000
Trifluoperazine | 1000 | 1000
Triflupromazine | 1000 | 1000
Tyramine | 300 | 500
3-OH-Tyramine | 500 | 500
The compounds listed in the table below produced a
result approximately equivalent to the respective cutoff
calibrator, at the concentration listed below.
Compound | 500 ng/mL Cutoff | 1000 ng/mL Cutoff
| Concentration | Concentration
| (μg/mL) | (μg/mL)
d-Amphetamine | 0.5 | 1
d-Methamphetamine | 0.5 | 1
Methylenedioxyamphetamine
(MDA) | 1.4 | 2.5
Methylenedioxymethamphetamine
(MDMA) | 0.8 | 1.3
Published by Abbott Diagnostics November 2017

## Barb
BARBITURATES
Specificity
Various potentially interfering substances were tested for cross-reactivity with the assay.
The compounds listed in the table below produced a negative result
relative to the cutoff calibrator.
Compound | Concentration Tested
(μg/mL)
Acetaminophen | 1000
Acetylsalicylic acid | 1000
d-Amphetamine | 1000
Benzoylecgonine | 1000
Caffeine | 100
Codeine | 1000
Hydroxphenytoin (HPPH) | 500
Meperidine | 1000
Methadone | 1000
Methaqualone | 1000
Morphine | 1000
Oxazepam | 500
Phencyclidine | 1000
Phenytoin (DPH) | 500
Propoxyphene | 1000
The compounds listed in the table below produced a
result approximately equivalent to the respective cutoff
calibrator, at the concentration listed below.
Compound | Concentration Tested
(ng/mL)
Alphenal | 250
Amobarbital | 200
Aprobarbital | 200
Barbital | 1500
Butabarbital | 250
Butalbital | 300
Butethal | 300
Diallybarbital | 600
Pentobarbital | 500
Phenobarbital | 600
Secobarbital | 200
Talbutal | 60
Thiopental | 600
Published by Abbott Diagnostics October 2016

## Benzo
BENZODIAZEPNES
Specificity
Various potentially interfering substances were tested for cross-reactivity with the assay.
The compounds listed in the table below produced a negative result
relative to the cutoff calibrator.
Compound | Concentration Tested
(ng/mL)
Acetaminophen | 1000
Acetylsalicylic acid | 1000
Amphetamine | 1000
Caffeine | 100
Codeine | 1000
Dextromethorphan | 1000
Diphenhydramine | 500
Fluoxetine | 500
Methadone | 1000
Morphine | 200
Norfluoxetine | 500
Norsertraline | 1000
Oxaprozin | 50
Paroxetine | 500
Phencyclidine | 1000
Propoxyphene | 1000
Secobarbital | 1000
Sertraline | 500
The table below lists the concentrations of non-glucuronide compounds that produced positive results.
Increased sensitivity to certain benzodiazepine compounds may be observed.
Compound | Concentration Tested
(ng/mL)
Alprazolam | 70
7-aminoclonazepam | 2750
Bromazepam | 170
Clorazepate | 95
Chlordiazepoxide | 850
Clobazam | 120
Clonazepam | 175
Delorazepam | 120
Desmethyldiazepam | 85
Diazepam | 70
Flunitrazepam | 105
Flurazepam | 110
Lorazepam | 700
Lormetazepam | 245
Medazepam | 190
Nitrazepam | 100
Norfludiazepam | 100
Prazepam | 95
Temazepam | 125
Triazolam | 100
Published by Abbott Diagnostics July 2018

## Coc
Cocaine
Specificity
Various potentially interfering substances were tested for cross-reactivity with the assay.
The compounds listed in the table below produced a negative result
relative to the cutoff calibrator.
Compound | 150 ng/mL Cutoff Concentration Tested | 300 ng/mL Cutoff Concentration Tested
| (µg/mL) | (µg/mL)
Acetaminophen | 1000 | 1000
Acetylsalicylic acid | 1000 | 1000
Acyclovir | 100 | 100
Albuterol | 1000 | 1000
Amikacin | 1000 | 1000
Amitryptyline | 100 | 100
Amobarbital | 1000 | 1000
Amoxicillin | 1000 | 1000
Amphetamine | 1000 | 1000
Azithromycin | 100 | 100
Benzocaine | 1000 | 1000
Buprenorphine | 10 | 10
Bupropion | 100 | 100
Caffeine | 100 | 100
Calcium carbonate | 5000 | 5000
Chlorpromazine | 500 | 500
Chlorzoxazone | 1000 | 1000
Clonidine | 100 | 100
Codeine | 1000 | 1000
Dapsone | 10 | 10
Dextromethorphan | 100 | 100
Diphenhydramine | 1000 | 1000
Doxepine | 500 | 500
Doxycycline Hyclate | 100 | 100
Ecgonine methyl ester | 100 | 100
Fentanyl | 10 | 10
Fluconazole | 100 | 100
Fluoxetine | 50 | 50
Gabapentin | 100 | 100
Gentamicin | 1000 | 1000
Hydroxyzine | 100 | 100
Hyoscyamine HCl | 100 | 100
Ibuprofen | 5000 | 5000
Indomethacin | 100 | 100
Lamotrigine | 1000 | 1000
Levofloxacin | 100 | 100
Lidocaine | 1000 | 1000
Lithium heparin | 5000 | 5000
Loratadine | 500 | 500
Meperidine | 1000 | 1000
Mesoridazine | 1000 | 1000
Methadone | 1000 | 1000
Methylphenidate | 100 | 100
Metoclopramide | 1000 | 1000
Metronidazole | 100 | 100
Morphine | 200 | 200
Nalbuphine | 1000 | 1000
Naltrexone | 1000 | 1000
Naproxen | 5000 | 5000
Norfluoxetine HCl | 1000 | 1000
Ofloxacin | 100 | 100
Omeprazole | 100 | 100
Oxazepam | 1000 | 1000
Paroxetine | 100 | 100
Phencyclidine | 1000 | 1000
Phenelzine | 100 | 100
Phenobarbital | 1000 | 1000
Promethazine | 100 | 100
Propoxyphene | 1000 | 1000
Ranitidine | 100 | 100
Risperidone | 100 | 100
Scopolamine | 1000 | 1000
Secobarbital | 1000 | 1000
Spironolactone | 1000 | 1000
Stavudine | 1.0 | 1.0
Terbinafine | 1000 | 1000
Thiopental | 1000 | 1000
Thioridazine | 1000 | 1000
Tobramycin | 1000 | 1000
Tolmetin | 1000 | 1000
Tramadol | 500 | 500
Trazodone | 1000 | 1000
Trimethoprim | 5000 | 5000
Vancomycin | 1000 | 1000
Venlafaxine | 1000 | 1000
The compounds listed in the table below produced a
result approximately equivalent to the respective cutoff
calibrator, at the concentration listed below.
Compound | 150 ng/mL Cutoff Concentration Tested | 300 ng/mL Cutoff Concentration Tested
| (µg/mL) | (µg/mL)
Benzoylecgonine | 0.15 | 0.3
Cocaine | 25 | 50
Cocaethylene | 30 | 70
Ecgonine | 50 | 80
Published by Abbott Diagnostics July 2018

## Opiate
BARBITURATES
Specificity
Various potentially interfering substances were tested for cross-reactivity with the assay.
The compounds listed in the table below produced a negative result
relative to both the 300 ng/mL and 2,000 ng/mL cutoff calibrators.
Compound | Concentration Tested
(ng/mL)
Acetaminophen | 500000
Acetylsalicylic acid | 500000
Amitriptyline | 100000
Amphetamine | 1000000
Benzoylecgonine | 1000000
Caffeine | 10000
Carbamazepine | 500000
Chlorpromazine | 10000
Clomipramine | 100000
Cyclazocine | 35000
Desipramine | 100000
Dextromethorphan | 100000
Doxepine | 100000
Ephedrine | 1000000
Fentanyl | 100000
Fluoxetine | 100000
Fluphenazine | 100000
Ibuprofen | 500000
Imipramine | 100000
Maprotiline | 100000
Meperidine | 20000
Methadone | 500000
Metronidazole | 1000000
Nalbuphine | 1000000
Naloxone | 100000
Naltrexone | 3000000
Normorphine | 100000
Nortriptyline | 100000
Oxazepam | 250000
Phencyclidine | 1000000
Phenobarbital | 1000000
Secobarbital | 1000000
Talwin | 100000
Thebaine | 2000
Thioridazine | 100000
Tramadol | 100000
The compounds listed in the table below produced a
result approximately equivalent to the cutoff
calibrators, (300 ng/mL and 2,000 ng/mL).
Compound | 300 ng/mL Cutoff Concentration | 2000 ng/mL Cutoff Concentration
| (ng/mL) | (ng/mL)
6-Monoacetyl morphine | 280 | 2500
Codeine | 150 | 950
Dihydrocodeine | 650 | 4500
Heroin | 380 | 2400
Hydrocodone | 650 | 6500
Hydromorphone | 1400 | 13000
Levorphanol | 10500 | 87000
Morphine | 300 | 2000
Morphine-3-glucuronide | 340 | 2300
Morphine-6-glucuronide | 270 | 1350
Oxycodone | 10500 | 90000
Oxymorphone | 37000 | 280000
Ranitidine | 500000 | 2000000
Published by Abbott Diagnostics September 2016

## THC
THC (Cannabinoids)
Specificity
Various potentially interfering substances were tested for cross-reactivity with the assay.
The compounds listed in the table below produced a negative result
relative to both the 300 ng/mL and 2,000 ng/mL cutoff calibrators.
Compound | Concentration Tested
(ng/mL)
Acetaminophen | 1000000
Acetylsalicylic acid | 1000000
Amobarbital | 1000000
Amphetamine | 1000000
Benzoylecgonine | 1000000
Caffeine | 100000
Cannabidiol | 10000
Cocaine | 200000
Codeine | 1000000
Dextromethorphan | 1000000
Meperidine | 1000000
Methadone | 1000000
Methamphetamine | 1000000
Morphine | 200000
d-11-nor-Δ8-THC-COOH | 100
Oxazepam | 500000
Phencyclidine | 1000000
Phenobarbital | 1000000
Propoxyphene | 1000000
Secobarbital | 1000000
The compounds listed in the table below produced a
result approximately equivalent to the cutoff
calibrator, at the concentration listed below.
Compound | Concentration Tested
(ng/mL)
11-Hydroxy-Δ9-THC | 100
I-11-nor-Δ8-THC-COOH | 100
I-11-nor-Δ9-THC-COOH | 50
8-β-Hydroxy-Δ9-THC | 100
8-β-11-Hydroxy-Δ9-THC | 50
Δ9-THC | 50
Cannabinol | 100
Published by Abbott Diagnostics July 2018