UCI Health

Invasively Collected Specimen Collection Containers, Microbiology Samples

| Vendor/SKU # | Name of Container | Uses |
| --- | --- | --- |
| Medline MKA2981 Medline BD352037H | Sterile Specimen container (urine cup) Falcon sterile tube with screw cap (fluid ONLY) | - Fluid specimens: Aerobic, Anaerobic (includes aerobic), AFB, Fungal cultures - Tissue: Aerobic, AFB, Fungal cultures (0.25 gm to 1 cm3). Add up to 1ml of non-bacteriostatic saline to prevent drying. Unacceptable solutions: alcohol and formalin - Non-biological/hardware Do not place sample (e.g. tissue, blood clot) on gauze Anaerobic culture (deliver immediately to lab) Stability 1 hour at room temperature Stability: ambient: 24; Refrigerated: 2 days; Frozen: unacceptable |
| Medline ANRAS914 ANRAS915PK Medline ANRAS911 ANRAS919 | Anaerobic Transport Medium Surgery Pack (ATMSP) AS-914; Anaerobic Tissue Transport Medium Surgery Pack (ATTMSP) AS-915. # Anaerobic Transport Medium (ATM) AS-911; # Anaerobic Tissue Transport Medium (ATTM) AS-919. | Anaerobic cultures. It can be shared with Aerobic, AFB and Fungal culture. - Tissue: (0.25 gm to up 1 cm3) - Fluid: minimum 1mL. Small volume (< 1mL) should be collected in a sterile screw-cap tube - Swab: not recommended for surgical samples Stability in ATM: ambient: 24; Refrigerated: 2 days; Frozen: unacceptable |
| Medline B-D220145H | BBL CultureSwab™ | Aerobic culture. ONLY when NO fluid or tissue is available. Stability in ATM: ambient: 24; Refrigerated: 2 days; Frozen: unacceptable Not recommended for AFB and Fungal cultures |

Version 6/24/2026